{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":640,"n_cols":17,"rows_kept":640,"cut":false,"hidden":false,"merged":[]}
["Row No.","Location","Class Location","NOMINAL PIPE SIZE (mm)","Pipeline Name","Estimated Number of Welds","MOP (Kpa)","INSPECTED (Y/N)","DATE OF FIELD INSPECTION","INSPECTION DISPOSITION","TYPE OF DEFECTS","DERATE PRESSURE (kPa)","DATE OF ENGINEERING ASSESSMENT","ASSESSMENT DISPOSITION"]
[1,"12-32-47-24-W4",2,88,"Millet Transmission",80,5510,"N"]
[2,"7-34-55-21-W4",1,323,"Esso Chemical Lateral",100,8450,"N",{"$nulls":7},"Symbol","Meaning"]
[3,"NW-4-41-26-W4 to SE-27-46-22-W4","3, 2, 1",219,"Southern Extension",30,4830,"N",{"$nulls":7},"P","Porosity"]
[4,"2-10-49-6-W5",1,168,"Pembina Transmission",100,6140,"N",{"$nulls":7},"S","Slag"]
[5,"SE-27-46-22-W4 to NE-34-49-17-W4",1,168,"Bittern Lake to Redwater transmission",300,8140,"N",{"$nulls":7},"IP","Incomplete Penetration"]
[6,"SE-27-46-22-W4 to NE-34-49-17-W4",1,168,"Bittern Lake to Redwater transmission",120,8140,"N",{"$nulls":7},"LF","Lack of Fusion"]
[7,"SE-27-46-22-W4 to NE-34-49-17-W4",1,168,"Bittern Lake to Redwater transmission",200,8140,"N",{"$nulls":7},"IUC","Internal Undercut"]
[8,"3-8-49-7-W5",2,60,"Pembina Lobstick Transmission",30,3720,"N",{"$nulls":7},"EUC","External Undercut"]
[9,"9-17-50-7-W5",1,168,"Pembina Lobstick Transmission",100,8274,"N",{"$nulls":7},"H/L","High - Low"]
[10,"4-34-53-18-W4",1,508,"Mundare-Bruderheim Transmission",30,3450,"N",{"$nulls":7},"WP","Wormhole Porosity"]
[11,"9-8-20-2-W5",3,168,"Black Diamond Branch",100,2130,"N"]
[12,"SE-7-25-10-W5 to SE-28-24-10-W5",1,323,"Banff Loop (323.9)",30,4960,"N"]
[13,"1-32-20-14-W4",2,42,"Duchess Branch",30,6620,"N"]
[14,"LSD 3-30-24-28-W4 to SW 20-23-28-W4",2,508,"Shepard Transmission",30,5090,"Y","2015-11-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-16","Repairs Required"]
[15,"SW & NE 32-51-24-W4",3,323,"Swan Hills Transmission",40,4030,"N"]
[16,"10-15-51-12-W4\n",1,42,"Lavoy-Minburn Transmission",40,3450,"N"]
[17,"SE-1-54-25-W4",3,323,"North Edmonton Loop",40,3450,"N"]
[18,"2-18-32-1-W5",2,168,"Olds Receipt Transmission",100,4960,"N"]
[19,"1-34-9-22-W4",1,406,"Mainline East (West)",100,4960,"N"]
[20,"9-2-50-1-W4",2,168,"Lloydminster Transmission",100,5520,"N"]
[21,"9-7-52-6-W5",2,273,"Wabamun to Hinton Transmission",100,7240,"N"]
[22,"04-32-51-24-W4",3,323,"Swan Hills Transmission",40,4030,"N"]
[23,"4-19-15-21-W4",1,88,"Champion Transmission",100,6740,"N"]
[24,"SW-22-43-25-W4",1,168,"Southern Extension",30,4830,"N"]
[25,"SE-2-42-26-W4 to NW26-43-25-W4","2, 1",219,"Southern Extension",30,4830,"N"]
[26,"NE-29-45-23-W4/SE-10-46-23-W4/SE-19-46-22-W4/SE-27",1,219,"Southern Extension",30,4830,"N"]
[27,"SE-2-42-26-W4 to SW-2-42-26-W4","2, 1",219,"Southern Extension",30,4830,"N"]
[28,"1-3-51-25-W4 to 10-27-50-25-W4",1,406,"Pembina Transmission",30,6140,"N"]
[29,"8-21-53-25-W4",2,114,"North Edmonton Loop",30,3450,"N"]
[30,"10-10-55-22-W4\n",2,168,"Bittern Lake to Redwater transmission",80,4960,"N"]
[31,"9-5-57-8-W5 to 1-17-57-8-W5",1,273,"Paddle River Transmission",30,5520,"N"]
[32,"NE-22-52-23-W4",3,406,"Viking-Edmonton Transmission - Line #4",30,4960,"N"]
[33,"14-4-41-26-W4 to 8-27-46-22-W4",1,168,"Southern Extension",30,"4830 (Abandoned)","N"]
[34,"NW-22-041-26-W4 TO NE-35-041-26-W4",1,168,"Southern Extension",60,4830,"N"]
[35,"8-17-29-22-W4 & SW 16-29-22-W4M",2,406,"Carbon Transmission",40,5520,"N"]
[36,"3-5-28-24-W4",1,406,"Carbon Transmission",40,5520,"N"]
[37,"LSD 13-16-27-25-W4",1,508,"Carbon Loop",40,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[38,"LSD 13-16-27-25-W4",1,508,"Carbon Loop",40,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[39,"9-36-54-24-W4",1,273,"Bittern Lake to Redwater transmission",40,4140,"N"]
[40,"13-4-55-22-W4",1,273,"Bittern Lake to Redwater transmission",40,4140,"N"]
[41,"4-26-54-25-W4",3,60,"IS1531",40,6580,"N"]
[42,"8-4-55-22-W4 to 5-3-55-22-W4","2, 1",273,"Bittern Lake to Redwater transmission",30,4140,"N"]
[43,"10-10-55-22-W4",2,168,"Bittern Lake to Redwater transmission",40,4960,"N"]
[44,"4-25-38-27-W4 to 1-1-38-27-W4",1,219,"Nevis - Airdrie",30,4830,"N"]
[45,"12-23-49-1-W5 to 12-14-49-1-W5",1,88,"Pembina Transmission",40,6140,"N"]
[46,"LSD 13-13-25-5-W5",1,406,"Jumping Pound West Transmission",160,5085,"N"]
[47,"SW-03-025-04-W5",1,323,"Jumping Pound Transmission",40,4960,"N"]
[48,"1-23-024-03-W5",2,323,"Jumping Pound Transmission",40,4960,"N"]
[49,"LSD 9-19-23-1-W5",3,323,"Jumping Pound Transmission",40,4960,"N"]
[50," NE-21-023-01-W5",3,323,"Jumping Pound Transmission",40,4960,"N"]
[51,"LSD 9-22-23-1-W5",3,323,"Jumping Pound Transmission",40,4960,"N"]
[52,"14-30-24-2-W5 to 6-31-24-2-W5","3, 2",60,"Valley Ridge Branch",100,4960,"N"]
[53,"E(1/2) 14-24-2-W5",3,406,"North Line Branch",30,4960,"N"]
[54,"10-28-45-28-W4 & 4-2-46-28 W4",1,610,"Homeglen Transmission",40,6200,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L",4534,"Not Started","Unknown"]
[55,"6-17-47-27-W4",1,323,"Bonnie Glen Transmission",40,6205,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC",4534,"Not Started","Unknown"]
[56,"1-4-49-26-W4",1,610,"Homeglen Transmission",80,6200,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L",4534,"Not Started","Unknown"]
[57,"6-16-25-3-W5",2,42,"Jumping Pound West Transmission",30,5300,"N"]
[58,"SW-27-49-1-W5",1,406,"Pembina Purchase",100,6140,"N"]
[59,"SE-13-42-26-W4 to SE-12-44-25-W4",1,168,"Southern Extension",30,4830,"N"]
[60,"NE-3-45-24-W4 to NE 20-46-22-W4",1,219,"Southern Extension",30,4830,"N"]
[61,"SE-8-53-23-W4",2,323,"Edmonton Refinery Delivery Pipeline",100,8450,"N"]
[62,"8-27-46-22-W4",1,168,"Bittern Lake to Redwater transmission",100,8140,"N"]
[63,"15-24-55-22-W4",2,168,"Bittern Lake to Redwater transmission",100,4960,"N"]
[64,"NE-34-049-17-W4",1,406,"Viking-Edmonton Transmission - Line #4",100,4030,"N"]
[65,"NE-34-049-17-W4",1,406,"Viking-Edmonton Transmission - Line #4",40,4030,"N"]
[66,"LSD 8-10-28-24-W4",1,406,"Carbon Transmission",30,5520,"N"]
[67,"SW-28-025-05-W5",1,323,"Banff Transmission",30,4960,"N"]
[68,"9-35-48-3-W5",2,42,"Pembina Transmission",60,6550,"N"]
[69,"7-17-25-1-W5",3,273,"Simons Valley Branch",40,5090,"N"]
[70,"4-24-25-1-W5",2,406,"Jumping Pound West Transmission",40,5090,"N"]
[71,"4-23-25-29-W4",1,406,"Petrogas - Meadowfield Transmission",40,5090,"N"]
[72,"10-8-56-21-W4",1,610,"Esso Chemical Lateral",40,8450,"N"]
[73,"16-6-49-27-W5",2,114,"Jasper Transmission",30,6205,"N"]
[74,"11-20-42-25-W4",1,88,"Southern Extension",100,4830,"N"]
[75,"3-1-38-26-W4",1,219,"Nevis - Airdrie",100,4960,"N"]
[76,"7-15-25-4-W5",1,60,"Cochrane Branch",100,4960,"N"]
[77,"SE-17-29-22-W4",2,406,"Carbon Transmission",100,5515,"N"]
[78,"15-36-12-27-W4",1,168,"Claresholm - N.E. Transmission",100,4960,"N"]
[79,"6-34-50-26-W4",3,88,"Pine Valley Transmission",100,6895,"N"]
[80,"SW-16-53-23-W4",2,610,"Cloverbar Lateral",100,4970,"N"]
[81,"1-24-53-6-W5",1,273,"Wabamun to Hinton Transmission",100,7240,"N"]
[82,"16-5-30-1-W5",3,114,"Nevis - Airdrie",100,4960,"N"]
[83,"4-32-51-24-W4",3,323,"Swan Hills Transmission",100,4030,"N"]
[84,"1-28-50-9-W4",1,323,"Birch Lake Transmission",100,8450,"N"]
[85,"1-3-51-25-W4",1,406,"Pembina Transmission",100,6140,"N"]
[86,"8-19-52-23-W4",1,88,"Viking-Edmonton - Loops & Branches",30,2275,"N"]
[87,"NE-35-023-02-W5",1,323,"Jumping Pound Transmission",40,4960,"N"]
[88,"16-12-54-25-W4",1,114,"St Albert-North Edmonton Lateral",30,3450,"N"]
[89,"NE-25-51-23-W4",1,168,"Bretona Transmission",30,4960,"N"]
[90,"11-12-54-26-W4M",1,406,"Villeneuve Transmission",40,8480,"N"]
[91,"LSD-2-21-53-23-W4M",2,762,"Cloverbar Lateral",40,8450,"N"]
[92,"12-19-27-24-W4",1,508,"Carbon Loop",100,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[93,"SE-36-23-29-W4",2,219,"Chestermere Lake Loop",100,5090,"Y","2016-11-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",4635,"2016-02-01","Repairs Required"]
[94,"4-14-52-22-W4",1,88,"Viking-Edmonton - Loops & Branches",30,4960,"N"]
[95,"5-11-47-20-W4",1,114,"Southern Extension",30,4830,"N"]
[96,"1-20-51-24-W4 to 1-17-51-24-W4",2,323,"Usona Transmission",30,7660,"N"]
[97,"SE-5-53-25-W4",2,508,"Northwest Edmonton Connector",30,3450,"Y","2016-06-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",1960,"Not Started","Unknown"]
[98,"SW-5-53-25-W4",2,219,"Acheson Transmission",30,3450,"N"]
[99,"14-27-53-25-W4",1,508,"Northwest Edmonton Connector",30,8480,"Y","2016-06-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",1960,"Not Started","Unknown"]
[100,"8-1-54-25-W4",3,508,"Northwest Edmonton Connector",30,8480,"Y","2016-06-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",1960,"Not Started","Unknown"]
[101,"E (1/2) 29-22-29-W4",3,219,"McKenzie Gate Lateral",30,6140,"N"]
[102,"16-24-51-25-W4 & 16-14-51-25-W4","3, 1",219,"Devon Transmission (219.1 & 273.1)",30,6890,"N"]
[103,"5-10-47-20-W4",2,168,"Southern Extension",100,4820,"N"]
[104,"NE-36-71-5-W6",1,88,"EXT58",30,6550,"N"]
[105,"2-6-67-10-W5",1,114,"House Mountain Pipeline",30,9930,"N"]
[106,"SE-03-51-25-W4",1,406,"Pembina Transmission",30,6140,"N"]
[107,"2-6-67-10-W5",1,114,"House Mountain Pipeline",100,9930,"N"]
[108,"8-30-52-21-W4",1,406,"Legal-Uncas Transmission",30,"4960 , 4030","N"]
[109,"8-30-52-21-W4",1,406,"Legal-Uncas Transmission",30,"4961 , 4030","N"]
[110,"7-32-39-22-W4",1,88,"Alix, Mirror, Bashaw Transmission",90,4960,"N"]
[111,"13-19-54-25-W4",2,88,"Paddle River Transmission",80,5520,"N"]
[112,"NW-11-57-24-W4",1,114,"Legal-Uncas Transmission",30,3450,"N"]
[113,"NW-11-062-08-W5 AND NW-22-061-07-W5",1,323,"Swan Hills Transmission",40,6550,"N"]
[114,"4-26-46-24-W4",2,60,"Southern Extension",30,4830,"N"]
[115,"13-11-79-22-W5",3,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[116,"14-5-55-22-W4",1,88,"Fort Sask.-North Edmonton Lateral",30,3447,"N"]
[117,"SE-19-049-24-W4",2,323,"Usona Transmission",30,7660,"N"]
[118,"16-35-24-29-W4",3,406,"Petrogas - Meadowfield Transmission",30,5090,"N"]
[119,"4-1-11-26-W4",1,114,"Granum Lateral",30,2070,"N"]
[120,"NW-26-83-22-W5",2,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4140,"N"]
[121,"LSD 14-14-23-27-W4 - LSD 4-4-23-28-W4\n","3, 1",114,"Indus Lateral",30,6240,"N"]
[122,"3-35-5-17-W4",1,114,"Taber-Coutts Branch (114.3)",30,6890,"N"]
[123,"SW-36-71-11-W6",1,114,"Hythe-Beaverlodge Transmission",30,4140,"N"]
[124,"4-33-54-22-W4",2,114,"Legal-Uncas Transmission",30,4450,"N"]
[125,"NE-9-41-26-W4 to NE-10-41-27-W4",1,168,"Southern Extension",150,4830,"N"]
[126,"9-1-47-21-W4",1,219,"Southern Extension",30,4830,"N"]
[127,"NW-20-48-18-W4",1,219,"Southern Extension",30,4830,"N"]
[128,"13-6-57-8-W5",2,273,"Paddle River Transmission",80,5520,"N"]
[129,"LSD 7-36-56-7-W5",1,273,"Paddle River Transmission",80,5520,"N"]
[130,"5-31-56-6-W5",1,323,"Paddle River Transmission",40,5520,"N"]
[131,"LSD 8-36-56-7-W5",1,273,"Paddle River Transmission",40,5520,"N"]
[132,"1-1-38-27-W4",1,219,"Nevis - Airdrie",100,4830,"N"]
[133,"SE-21-53-23-W4",2,762,"Cloverbar Lateral",40,8450,"N"]
[134,"LSD 2-3-55-22-W4",2,168,"Bittern Lake to Redwater transmission",100,4960,"N"]
[135,"LSD 4-3-55-22-W4",2,168,"Riverside Transmission",100,4140,"N"]
[136,"LSD 16-6-20-25-W4",1,219,"Arrowwood Transmission",40,6620,"N"]
[137,"LSD 8-2-20-28-W4 & 5-3-20-27-W4",1,219,"Arrowwood Transmission",30,6620,"N"]
[138,"LSD 3-6-20-28-W4",1,219,"Arrowwood Transmission",30,6620,"N"]
[139,"13-15-50-10-W4",1,323,"Birch Lake Transmission",100,8450,"N"]
[140,"5-10-55-22-W4",2,323,"Legal-Uncas Transmission",80,3447,"N"]
[141,"1-4-52-20-W4",1,406,"Viking-Edmonton Transmission - Line #4",80,4030,"N"]
[142,"12-23-49-1-W5",2,88,"Pembina Transmission",40,6140,"N"]
[143,"LSD 14-12-23-5-W5 to LSD 4-13-23-5-W5",2,60,"Bragg Creek South Town Line",30,5825,"N"]
[144,"NE-36-54-3-W5",1,42,"Wabamun - Onoway Transmission",30,4830,"N"]
[145,"LSD 12-3-10-23-W4",1,406,"Mainline East (West)",100,4960,"N"]
[146,"LSD 7-17-47-27-W4",1,114,"Bonnie Glen Transmission",100,5520,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",4534,"Not Started","Unknown"]
[147,"5-2-9-19-W4 & 12-35-9-20-W4",1,88,"Coaldale East #2 Branch",60,2380,"N"]
[148,"SE & SW-24-7-17-W4",1,60,"Wrentham #2 Lateral (60.3)",30,1900,"N"]
[149,"1-28-25-2-W5",2,88,"Lafarge Asphalt Plant Branch",30,5090,"N"]
[150,"LSD 7-17-47-27-W4 to LSD 2-17-47-27-W4",1,323,"Bonnie Glen Transmission",40,5520,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",4534,"Not Started","Unknown"]
[151,"LSD 2-32-52-24-W4",2,323,"Rossdale Transmission",30,2700,"N"]
[152,"LSD 5-30-9-25-W4",1,88,"Fort Macleod Branch",100,2070,"N"]
[153,"LSD 5-30-9-25-W4",1,88,"Fort Macleod Branch",100,2070,"N"]
[154,"10-15-29-23-W4M",2,60,"Carbon Town Branch",30,5515,"N"]
[155,"SE-33-37-27-W4",2,168,"Nevis - Airdrie",30,4960,"N"]
[156,"5-15-49-2-W5",1,406,"Pembina Transmission",100,6140,"N"]
[157,"LSD 1-2-20-28-W4",1,219,"Arrowwood Transmission",100,6620,"N"]
[158,"LSD 3-33-48-8-W5",1,88,"Pembina Transmission",100,6580,"N"]
[159,"12-3-56-21-W4",1,406,"Esso Chemical Lateral",100,8450,"N"]
[160,"LSD 16-35-34-25-W4",1,88,"Trochu Transmission",100,6620,"N"]
[161,"LSD 8-23-34-1-W5",3,168,"Nevis - Airdrie",40,4960,"N"]
[162,"LSD 15-12-28-26-W4",2,60,"Acme Lateral",40,5515,"N"]
[163,"1-4-55-20-W4",1,610,"Cloverbar Lateral",40,8450,"N"]
[164,"LSD 1-6-54-21-W4",1,406,"Inland-Ft Saskatchewan Transmission",80,8450,"N"]
[165,"LSD 14-14-23-27-W4",3,114,"Indus Lateral",100,6240,"N"]
[166,"LSD 14-8-47-27-W4",1,60,"Bonnie Glen Transmission",100,"6210, 5520","Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",4534,"Not Started","Unknown"]
[167,"LSD 4-24-24-3-W5",2,323,"Jumping Pound",40,4960,"N"]
[168,"LSD 3-28-35-28-W4",2,88,"Innisfail Branch",100,4960,"N"]
[169,"NE-1-63-3-W4 to SE-6-63-2-W4",1,88,"Cold Lake Medley Transmission",60,3100,"N"]
[170,"LSD 4-6-53-18-W4",1,114,"Mundare-Bruderheim Transmission",30,3450,"N"]
[171,"SE-3-26-4-W5",2,60,"Cochrane Branch",30,4960,"N"]
[172,"NE-05-055-22-W4",1,273,"Bittern Lake to Redwater transmission",30,4140,"N"]
[173,"NW-36-055-23-W4",1,323,"Legal-Uncas Transmission",40,3447,"N"]
[174,"SW-2-26-29-W4 to NW-35-25-29-W4","2, 1",219,"Petrogas - Carbon Transmission",30,4960,"N"]
[175,"12-1-56-5-W5",1,323,"Paddle River Transmission",40,5520,"N"]
[176,"LSD 8-24-50-26-W4",1,406,"Pembina Loop",30,6140,"N"]
[177,"SE-21-21-29-W4 to SW-20-21-28-W4","2, 1",88,"Dewinton East Branch #2",30,2070,"N"]
[178,"LSD 9-24-81-21-W5",2,60,"WORSLEY-MCLENNAN TRANSMISSION",30,4140,"N"]
[179,"NE-22-023-01-W5",3,323,"Jumping Pound Transmission",40,4960,"N"]
[180,"LSD 16-4-48-10-W4",1,168,"Scovil Lake Transmission",30,4960,"N"]
[181,"SW-8-53-25-W4",2,508,"Northwest Edmonton Connector",30,3450,"Y","2016-06-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",1960,"Not Started","Unknown"]
[182,"SE-27-23-1-W5",3,610,"Mainline South (North)",30,3020,"N"]
[183,"LSD 4-5-44-1-W5",1,610,"Homeglen Transmission",30,6200,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",4534,"Not Started","Unknown"]
[184,"E1/2-33-54-22-W4",1,114,"Legal-Uncas Transmission",30,4450,"N"]
[185,"4-19-53-23-W4 to 8-7-53-23-W4",3,406,"Ardrossan Transmission",30,3450,"N"]
[186,"LSD 16-36-51-4-W5",2,219,"Genesee-Keephills Transmission",100,4960,"N"]
[187,"SE-33-52-26-W4",2,114,"Stony Plain Transmission",30,3450,"N"]
[188,"LSD 6-15-8-21-W4",1,219,"Cardston Transmission",30,2070,"N"]
[189,"8-1-54-25-W4 to 16-27-53-25-W4","3, 1",323,"North Edmonton Loop",30,3450,"N"]
[190,"LSD 1-14-51-20-W4",1,26,"IS7008",30,4100,"N"]
[191,"LSD 11-10-51-25-W5",3,88,"Jasper Transmission",80,6900,"N"]
[192,"SE-30-051-24-W4 ",3,273,"Pembina Transmission",40,6140,"N"]
[193,"LSD 2-5-47-27-W4",1,610,"Homeglen Transmission",30,6200,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",4534,"Not Started","Unknown"]
[194,"LSD 4-14-51-26-W4",1,114,"Pine Valley Transmission",30,6895,"N"]
[195,"NE-2-50-1-W4",2,168,"Lloydminster Transmission",30,5520,"N"]
[196,"NW-20-023-01-W5",3,323,"Jumping Pound Transmission",30,4960,"N"]
[197,"3-8-53-25-W4",2,273,"Paddle River Transmission",100,3450,"Y","2016-06-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",3450,"2016-09-01","Not Complete"]
[198,"NE-36-11-20-W4",1,60,"Turin East Transmission",30,6720,"N"]
[199,"SW-33-24-10-W5",3,323,"Banff Loop (323.9)",30,4960,"N"]
[200,"SE-5-25-10-W5",3,323,"Banff Loop (323.9)",30,4960,"N"]
[201,"SE-26-52-24-W4",2,219,"IS6462",100,6520,"N"]
[202,"LSD 4-22-21-29-W4",2,60,"Dewinton East Branch #2",100,2070,"N"]
[203,"NW-25-19-29-W4",1,60,"High River N.E. Branch (60.3)",40,2070,"N"]
[204,"SE-12-44-25-W4M TO SE-03-45-24-W4M",1,219,"Southern Extension",30,4830,"N"]
[205,"12-20-55-3-W5",1,323,"Paddle River Transmission",40,5520,"N"]
[206,"LSD 5-36-54-2-W5",2,219,"Paddle River Transmission (CU Lease)",40,5520,"N"]
[207,"3-8-54-26-W4 & 8-5-54-26-W4",1,273,"Paddle River Transmission",40,5520,"N"]
[208,"LSD 4-17-56-21-W4",1,219,"Esso Chemical Lateral",30,4960,"N"]
[209,"LSD-7-13-23-5-W5M",1,88,"Bragg Creek South Town Line",30,5830,"N"]
[210,"SE-14-52-8-W4",1,168,"Myrnam Transmission",30,8270,"N"]
[211,"SW-5-53-25-W4",2,26,"Acheson Transmission",30,3450,"N"]
[212,"LSD 4-34-53-18-W4",1,114,"Mundare-Bruderheim Transmission",100,3450,"N"]
[213,"LSD 12-21-52-23-W5",1,114,"EXT42",100,7240,"N"]
[214,"12-29-24-28-W4 to 12-33-24-28-W4","2, 1",406,"Carbon Transmission",30,5520,"N"]
[215,"14-33-24-28-W4 to 3-4-25-28-W4",2,406,"Carbon Transmission",30,5520,"N"]
[216,"LSD 4-4-22-29-W4",2,114,"Dewinton East Branch #1",30,2070,"N"]
[217,"SE-28-50-9-W4",1,323,"Birch Lake Transmission",40,8450,"N"]
[218,"SE-17-053-26-W4",2,323,"Swan Hills Transmission",30,6380,"N"]
[219,"NW-36-052-23-W5",1,273,"Wabamun to Hinton Transmission",30,7240,"N"]
[220,"11-22-53-8-W5",1,273,"Wabamun to Hinton Transmission",80,7240,"N"]
[221,"Sec 23-3-25-W4",1,114,"Cardston Transmission",30,3070,"N"]
[222,"LSD 1-22-27-25-W4",1,508,"Carbon Loop",100,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[223,"LSD 3-27-44-1-W5",1,610,"Homeglen Transmission",30,6200,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L, WP",4534,"Not Started","Unknown"]
[224,"SW-10-051-25-W4",1,219,"Devon Transmission (219.1 & 273.1)",30,6890,"N"]
[225,"LSD 9-11-35-1-W5",1,42,"Innisfail West Branch",30,4960,"N"]
[226,"2/3-4-25-8-W5",1,219,"Banff Transmission",30,4960,"N"]
[227,"SE-16-83-23-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[228,"15-29-50-24-W4 to 2-4-51-24-W4","2, 1",323,"Usona Transmission",30,7660,"N"]
[229,"04-16-51-24-W4 TO 02-18-51-24-W4","2, 1",168,"Pembina Transmission",30,6140,"N"]
[230,"LSD 5-2-48-8-W5",1,33,"Pembina Transmission",100,6580,"N"]
[231,"LSD 02-14-25-28-W4",1,406,"Carbon Transmission",40,5520,"N"]
[232,"LSD 8-15-50-10-W4",1,60,"Lavoy-Minburn Transmission",40,3450,"N"]
[233,"8-27-27-25-W4",1,406,"Carbon Transmission",40,5520,"N"]
[234,"13-15-52-21-W4",2,406,"Viking-Edmonton Transmission - Line #4",100,4030,"N"]
[235,"LSD 9-28-48-26-W4",1,88,"Millet Transmission",100,6200,"N"]
[236,"LSD 10-19-82-25-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",100,4138,"N"]
[237,"LSD-3-14-55-22-W4M",2,168,"Bittern Lake to Redwater transmission",100,4960,"N"]
[238,"LSD 9-14-55-22-W4",2,168,"Bittern Lake to Redwater Transmission",100,4960,"N"]
[239,"SE-25-23-29-W4",2,508,"Shepard Transmission",100,5400,"Y","2015-11-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L",4635,"2016-02-01","Repairs Required"]
[240,"LSD 12-19-27-24-W4",1,508,"Carbon Loop",100,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[241,"LSD 9-4-25-28-W4",2,406,"Carbon Transmission",30,5520,"N"]
[242,"11-13-26-27-W4M",2,406,"Carbon Transmission",40,5520,"N"]
[243,"11-13-26-27-W4M",2,406,"Carbon Transmission",40,5520,"N"]
[244,"LSD 16-34-49-8-W4",1,60,"Vermilion Transmission",30,5170,"N"]
[245,"LSD 12-7-82-21-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[246,"LSD 12-19-27-24-W4",1,508,"Carbon Loop",40,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[247,"LSD 3-2-27-26-W4",1,60,"Irricana Branch",40,5515,"N"]
[248,"LSD 5-2-48-8-W5",1,33,"Pembina Transmission",30,6580,"N"]
[249,"LSD 1-3-26-29-W4",1,406,"Petrogas - Airdrie Transmission",100,"4960, 5520, 4960, 5090, 6240    ","Y","2015-11-01","Defects Found","P, S, IP, LF, IUC, H/L",4635,"2016-02-16","Repairs Required"]
[250,"LSD 8/9/16/17-53-23-W4",2,168,"East Edmonton Interconnection",30,4960,"N"]
[251,"SE-13-27-1-W5",3,219,"Petrogas - Airdrie Transmission",30,4960,"N"]
[252,"LSD 15-29-53-25-W4",3,323,"Villeneuve Transmission",30,8480,"N"]
[253,"LSD 2-3-55-22-W4",2,168,"Bittern Lake to Redwater transmission",100,4960,"N"]
[254,"SE-21-54-23-W4",2,42,"Fort Sask.-North Edmonton Lateral",30,3450,"N"]
[255,"LSD 8-31-38-28-W4",1,168,"Sylvan Lake Transmission",100,4688,"N"]
[256,"SE 29-52-23-W4 to NE-20-52-23-W4",2,60,"Viking-Edmonton - Loops & Branches",30,2280,"N"]
[257,"LSD 5-13-52-8-W4",1,168,"Myrnam Transmission",40,8270,"N"]
[258,"NW-35-25-29-W4",2,219,"Petrogas - Carbon Transmission",100,5520,"N"]
[259,"LSD 1-36-23-29-W4",2,219,"Chestermere Lake Loop",100,5090,"Y","2016-11-01","Defects Found","P, S, IP, LF, IUC, EUC",4635,"2016-02-01","Repairs Required"]
[260,"LSD 5-26-27-25-W4",1,508,"Carbon Loop",100,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[261,"1-6-38-25-W4M",1,219,"Nevis - Airdrie",30,4960,"N"]
[262,"LSD 11-12-54-26-W4",1,406,"Villeneuve Transmission",100,8480,"N"]
[263,"LSD 8-17-50-7-W5",2,168,"Pembina Lobstick Transmission",100,8274,"N"]
[264,"LSD 13-2-21-4-W5",1,48,"Millarville Transmission Line",30,3100,"N"]
[265,"SW-26-27-25-W4",1,508,"Carbon Loop",30,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[266,"16-32-51-24-W4",2,323,"Swan Hills Transmission",40,4030,"N"]
[267,"NE-31-53-23-W4",1,60,"North Edmonton Loop",30,3450,"N"]
[268,"NW-22-020-29-W4",2,323,"Mainline South (North)",30,4960,"N"]
[269,"SW-36-048-13-W4 AND NE-24-050-10-W4",1,273,"Viking - Kinsella Field Transmission",90,4960,"N"]
[270,"NW/SW-6-54-16-W4",1,508,"Norma Transmission",30,8450,"N"]
[271,"LSD 12-3-10-23-W4",1,406,"Mainline East (West)",80,4960,"N"]
[272,"SE-31-45-8-W4",1,219,"Wainwright Transmission",30,5170,"N"]
[273,"LSD 1-29-52-23-W4",2,60,"Viking-Edmonton Transmission - Line #3",30,2280,"N"]
[274,"5-18-25-2-W5",2,406,"Jumping Pound West Transmission",30,5085,"N"]
[275,"SE-04-053-25-W4 TO NE-16-053-25-W4",2,323,"North Edmonton Loop",90,4970,"N"]
[276,"LSD 9-12-46-20-W4",1,60,"OHATON TRANSMISSION",100,8450,"N"]
[277,"9-22-23-1-W5M",3,323,"Jumping Pound Transmission",40,4960,"N"]
[278,"1-2-24-2-W5",3,406,"Jumping Pound Transmission",30,4960,"N"]
[279,"LSD 2-26-7-18-W4",1,60,"Wrentham #2 Lateral (60.3)",30,1900,"N"]
[280,"LSD 10-7-15-27-W4",1,88,"Texaco Lateral",30,2280,"N"]
[281,"LSD 4-2-49-13-W4 & NE-16-52-21-W4",1,406,"Viking-Edmonton Transmission - Line #3",60,4030,"N"]
[282,"LSD 2-4-53-26-W4",3,114,"Stony Plain Transmission",100,3450,"N"]
[283,"LSD 4-10-53-26-W4",2,60,"Swan Hills Transmission",30,6380,"N"]
[284,"LSD 4-16-46-23-W4",1,42,"Southern Extension",30,4830,"N"]
[285,"LSD 8-27-49-17-W4",1,219,"Southern Extension",30,4830,"N"]
[286,"LSD 9-4-50-1-W4",1,168,"Lloydminster Transmission",30,5520,"N"]
[287,"LSD 1-5-56-15-W4",1,88,"AndrewTown Line",30,4140,"N"]
[288,"LSD 9-31-38-3-W4",1,42,"CADOGAN",30,4140,"N"]
[289,"LSD 15-23-053-17-W5",2,273,"Wabamun to Hinton Transmission",30,7240,"N"]
[290,"LSD 13-14-53-25-W4",3,60,"North Edmonton Loop",100,3450,"N"]
[291,"16-36-48-48-13-W4M",1,323,"Birch Lake Transmission",40,8450,"N"]
[292,"16-36-48-13-W4M",1,323,"Birch Lake Transmission",40,8450,"N"]
[293,"SE-06-049-14-W4",1,406,"Viking-Edmonton Transmission - Line #3",40,4030,"N"]
[294,"SE-04-049-14-W4",1,406,"Viking-Edmonton Transmission - Line #4",40,4030,"N"]
[295,"5-8-49-15-W4M",1,406,"Viking-Edmonton Transmission - Line #3",40,4480,"N"]
[296,"LSD 9-36-50-19-W4M",1,406,"Viking-Edmonton Transmission - Line #3",40,4030,"N"]
[297,"LSD 9-36-50-19-W4M",1,406,"Viking-Edmonton Transmission - Line #3",40,4030,"N"]
[298,"16-19-52-21-W4",1,406,"Viking-Edmonton Transmission - Line #3",40,4030,"N"]
[299,"LSD 7-15-51-21-W4",1,88,"IS7796",100,4270,"N"]
[300,"LSD 6-12-10-16-W4",1,323,"Mainline East (East)",100,4960,"N"]
[301,"SW-13-53-18-W5",1,273,"Wabamun to Hinton Transmission",30,7240,"N"]
[302,"LSD 11-12-54-26-W4",1,406,"Villeneuve Transmission",100,8480,"N"]
[303,"LSD 10-30-72-4-W5",2,114,"Mitsue Plywood",100,1730,"N"]
[304,"LSD 1-14-40-27-W4",2,60,"Southern Extension",40,4830,"N"]
[305,"05-21-24-09-W5",2,323,"Banff Loop (323.9)",100,4960,"N"]
[306,"SE-21-53-23-W4",2,762,"Cloverbar Lateral",40,8450,"N"]
[307,"5-10-55-22-W4",2,323,"Legal-Uncas Transmission",100,3447,"N"]
[308,"LSD 3-16-45-7-W4",1,114,"Fabyan Transmission",30,2070,"N"]
[309,"SE-20-053-23-W4",1,273,"Bittern Lake to Redwater transmission",30,4960,"N"]
[310,"LSD 4-8-57-8-W6",1,114,"Grande Cache",30,6550,"N"]
[311,"09-22-23-1-W5 & NE-21-23-29-W4","3, 2",323,"Jumping Pound Transmission",80,4960,"N"]
[312,"3-5-28-24-W4",1,406,"Carbon Transmission",100,5520,"N"]
[313,"SE-21-53-23-W4",2,762,"Cloverbar Lateral",200,8450,"N"]
[314,"SW-05-038-25-W4",1,219,"Nevis - Airdrie",30,4960,"N"]
[315,"NE-27-050-26-W4",2,219,"Devon Transmission (219.1 & 273.1)",40,6890,"N"]
[316,"1-22-35-11-W4",1,88,"Coronation Town Line",40,6210,"N"]
[317,"LSD 1-23-51-25-W5",2,114,"Jasper Transmission",100,6900,"N"]
[318,"NE-25-44-7-W4",2,114,"Fabyan Transmission",100,1900,"N"]
[319,"NW-2-24-29-W4",3,406,"Carbon Transmission",30,4700,"N"]
[320,"SW-2-24-29-W4",3,406,"Carbon Transmission",30,4700,"N"]
[321,"LSD 4-10-53-26-W4",2,60,"Swan Hills Transmission",100,6380,"N"]
[322,"1-35-22-1-W5",1,88,"Mainline South (North)",30,2070,"N"]
[323,"LSD 15-8-14-18-W4",1,88,"Vauxhall Transmission Line",30,6620,"N"]
[324,"LSD 7-3-21-4-W5",1,48,"Millarville Transmission Line",30,3100,"N"]
[325,"LSD 4-27-51-25-W4",2,219,"IS1541",100,6070,"N"]
[326,"LSD-2-17-14-18-W4M",2,60,"Enchant Branch",30,6620,"N"]
[327,"NE-22-46-22-W4 to SE-27-49-17-W4",1,168,"Bittern Lake to Redwater transmission",90,8140,"N"]
[328,"16-19-38-1-W5M",1,88,"IS2228",30,3400,"N"]
[329,"LSD 1-1-20-29-W4",1,219,"Arrowwood Transmission",30,6620,"N"]
[330,"LSD 11-14-49-16-W4",3,406,"Viking-Edmonton Transmission - Line #3",30,4030,"N"]
[331,"LSD 15-30-72-4-W5",2,114,"Mitsue Plywood",100,1730,"N"]
[332,"SW-22-43-25-W4",1,219,"Southern Extension",100,4830,"N"]
[333,"LSD 7-15-88-9-W4",1,88,"Fort McMurray Transmission",100,6210,"N"]
[334,"LSD-13-10-58-8-W6M",2,168,"EXTA1077",100,6550,"N"]
[335,"LSD 1-12-56-22-W4M",2,168,"Redwater Fractionator Lateral",30,4960,"N"]
[336,"SE-16-053-21-W4",1,273,"Legal-Uncas Transmission",30,4210,"N"]
[337,"LSD 2-27-38-27-W4",3,168,"Nevis Transmission",30,4960,"N"]
[338,"3-1-49-13-W4M to 16-20-49-16-W4M",1,406,"Viking-Edmonton - Loops & Branches",80,8460,"N"]
[339,"SE-04-049-13-W4",1,406,"Viking-Edmonton Transmission - Line #4",30,4030,"N"]
[340,"LSD 5-19-50-5-W4",1,323,"Ranfurly Transmission",40,8270,"N"]
[341,"LSD-16-33-44-24-W4M",1,219,"Southern Extension",30,4830,"N"]
[342,"LSD 2-31-55-21-W4 to LSD 6-31-55-21-W4",2,168,"Bittern Lake to Redwater transmission",30,4960,"N"]
[343,"LSD-6-31-55-21-W4M",2,168,"Bittern Lake to Redwater transmission",100,4960,"N"]
[344,"7-18-56-21-W4M",2,323,"Redwater Transmission",100,4960,"N"]
[345,"LSD-16-36-48-13-W4M",1,323,"Birch Lake Transmission",100,8450,"N"]
[346,"NW-23-22-1-W5",3,323,"Priddis Transmission Line (406.3)",100,4960,"N"]
[347,"NW 1/4-23-22-1-W5M",3,323,"Priddis Transmission Line (406.3)",100,4960,"N"]
[348,"NW 1/4-35-38-3-W4M",1,88,"PROVOST",100,4140,"N"]
[349,"NW-28-37-27-W4",2,168,"Nevis - Airdrie",30,4960,"N"]
[350,"13-15-57-03-W5",1,323,"Swan Hills Transmission",30,6550,"N"]
[351,"NW 1/4-23-22-2-W5M",1,406,"Priddis Transmission Line (406.3)",30,6140,"N"]
[352,"15-19-52-25-W4",3,323,"Swan Hills Transmission",100,6205,"N"]
[353,"7-18-56-21-W4M",2,323,"Redwater Transmission",30,4960,"N"]
[354,"NE-26-51-25-W4M TO NE-20-51-25-W4M","3, 2",323,"Swan Hills Transmission",30,6200,"N"]
[355,"LSD 1-20-52-23-W4",2,60,"Viking-Edmonton - Loops & Branches",30,2275,"N"]
[356,"1-28-53-9-W5M",1,273,"IS5056",40,9930,"N"]
[357,"SE 1/4-12-56-22-W4M",2,168,"Redwater Fractionator Lateral",100,4960,"N"]
[358,"LSD 15-14-24-9-W5",1,323,"Banff Loop (323.9)",30,4960,"N"]
[359,"SE-35-51-23-W4M",1,88,"Bretona Transmission",30,6895,"N"]
[360,"LSD-11-8-52-24-W4M",3,406,"Rossdale Transmission",100,2700,"N"]
[361,"LSD-12-10-45-7-W4M",1,168,"Fabyan Transmission",30,2070,"N"]
[362,"11-25-53-24-W4M",3,273,"ATCO Gas (Bittern Lake to Redwater Transmission)",30,4140,"N"]
[363,"2-33-65-10-W5M",1,114,"Swan Hills Transmission",30,6550,"N"]
[364,"10-03-56-22-W4",1,323,"Redwater Transmission",30,4960,"N"]
[365,"LSD 14-16-53-23-W4M",1,323,"Edmonton Refinery Delivery Pipeline",100,8450,"N"]
[366,"LSD-1-6-54-21-W4M",1,406,"Inland-Ft Saskatchewan Transmission",100,8450,"N"]
[367,"12-34-85-5-W6M",1,114,"Worsley-McLennan Transmission",30,6895,"N"]
[368,"LSD 10-33-51-23-W4",1,26,"Bretona Transmission",40,4960,"N"]
[369,"NE-22-42-2-W5M",2,60,"Rimbey Nova South Transmission",30,6200,"N"]
[370,"LSD 16-10-51-21-W4M",1,60,"Viking-Edmonton - Loops & Branches",30,2410,"N"]
[371,"LSD-1-18-53-21-W4M",1,508,"Ardrossan Transmission",100,3100,"N"]
[372,"3-14-55-22-W4M",2,168,"Bittern Lake to Redwater transmission",30,4960,"N"]
[373,"LSD-11-25-52-26-W4M",2,323,"Swan Hills Transmission",100,6200,"N"]
[374,"SW-31-52-23-W4",2,88,"CIL Transmission",100,3450,"N"]
[375,"LSD 8-33-9-22-W4",1,219,"Lethbridge Power Plant Lateral",100,2070,"N"]
[376,"9-11-34-1-W5M",1,168,"Nevis - Airdrie",60,4960,"N"]
[377,"LSD-16-29-48-9-W5M",1,88,"Pembina Transmission",100,6580,"N"]
[378,"LSD 16-27-48-9-W5",1,88,"IS5053",100,6580,"N"]
[379,"LSD-2-4-10-15-W4M",1,114,"Fincastle South Transmission",100,4965,"N"]
[380,"NW-8-14-23-W4M",1,88,"Vulcan Transmission",30,6620,"N"]
[381,"LSD-1-27-51-27-W4M",1,219,"IS5797",100,6900,"N"]
[382,"06-33-24-10-W5 & \n09-07-25-10-W5 &\nNE-28-24-10-W5 ","3,1",168,"Banff Transmission",80,4960,"N"]
[383,"SW 21-47-08-W4 &\nSE 15-47-08-W4 &\nSW 05-47-07-W4 &\nNW 25-46-07-W4",1,273,"Auburndale East Transmission",40,4960,"N"]
[384,"NE-22-071-07-W6",1,114,"EXT58",30,6550,"N"]
[385,"SE-24-050-26-W4",1,406,"Pembina Loop",30,6140,"N"]
[386,"13-24-052-22-W4 &\n16-23-52-22-W4",1,406,"Viking-Edmonton Transmission - Line #4",30,4030,"N"]
[387,"SW 06-48-26-W4 &\nSW 17-48-26-W4",1,610,"Homeglen Transmission",40,6205,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L",4534,"Not Started","Unknown"]
[388,"SE-35-49-26-W4",1,610,"Homeglen Transmission",40,6205,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L",4534,"Not Started","Unknown"]
[389,"SE-19-53-23-W4  &\nSW-20-53-23-W4","3,1",273,"Bittern Lake to Redwater transmission",40,4140,"N"]
[390,"NW-04-043-25-W4",1,60,"Southern Extension",100,4830,"N"]
[391,"SW-05-011-25-W4",1,168,"Fort Macleod Branch",100,4960,"N"]
[392,"05-10-054-24-W4",1,406,"Inland-Ft Saskatchewan Transmission",30,8450,"N"]
[393,"SW-35-059-12-W5",3,88,"Whitecourt Transmission",100,6210,"N"]
[394,"NE-36-048-13-W4",1,323,"Birch Lake Transmission",40,8450,"N"]
[395,"NE-03-024-02-W5",3,323,"Jumping Pound Transmission",30,4960,"N"]
[396,"NE-25-053-24-W4 & \nSE-04-54-24-W4",3,406,"North Edmonton Loop",40,3459,"N"]
[397,"NW-26-051-25-W4",3,323,"Swan Hills Transmission",30,6200,"N"]
[398,"SE-26-028-01-W5",3,88,"Nevis - Airdrie",100,4960,"N"]
[399,"NW-31-050-07-W5",1,26,"IS5161",30,8274,"N"]
[400,"NW-08-053-23-W4 ",2,88,"East Edmonton Interconnection",30,3450,"N"]
[401,"03-10-39-27-W4",2,219,"Southern Extension",30,4830,"N"]
[402,"NE-16-009-21-W4",1,273,"Lethbridge East #1 Branch (273.1)",30,2070,"N"]
[403,"SW-13-083-23-W5",1,88,"Peace River Correctional Lateral",30,4140,"N"]
[404,"NE-07-083-23-W5",3,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[405,"NE-16-83-23-W5",1,88,"Grimshaw Alfalfa Lateral",30,4140,"N"]
[406,"03-20-21-29-W4",1,323,"Banff Loop (323.9)",40,4960,"N"]
[407,"SE-21-039-22-W4",1,88,"Alix, Mirror, Bashaw Transmission",30,4960,"N"]
[408,"SW-08-022-26-W4",2,406,"Carseland Transmission",30,6240,"N"]
[409,"NW-32-047-24-W4",2,88,"Millet Transmission",40,5510,"N"]
[410,"NW-12-053-04-W5 &\nSW-13-053-04-W5","2,1",273,"Wabamun - Onoway Transmission",40,4830,"N"]
[411,"SW-21-056-23-W4",1,323,"Legal-Uncas Transmission",30,3447,"N"]
[412,"NE-21-038-23-W4",1,88,"Cimarron Transmission",100,4960,"N"]
[413,"NE-05-053-23-W4",2,219,"East Edmonton Interconnection",100,4960,"N"]
[414,"12-29-40-15-W4",1,26,"Forestburg Generating Plant Transmission",100,8450,"N"]
[415,"SE-10-055-22-W4",2,273,"Ft Sask Hydrocarbon to Chemical",100,3450,"N"]
[416,"NE-36-037-04-W4",1,88,"PROVOST",100,4140,"N"]
[417,"12-19-054-27-W4",2,323,"Paddle River Transmission (CU Lease)",100,5520,"N"]
[418,"SE-34-026-29-W4 TO\nSE-36-026-01-W5","2,1",219,"Petrogas - Airdrie Transmission",30,4960,"N"]
[419,"NE-31-050-25-W5",1,114,"Jasper Transmission",100,6900,"N"]
[420,"SE 07-08-05-W5 TO\nSW 16-08-05-W5",1,60,"Summit Lime Transmission",30,5820,"N"]
[421,"SW-27-035-28-W4",2,168,"Nevis - Airdrie",30,4960,"N"]
[422,"NE-34-037-27-W4",3,168,"Nevis - Airdrie Transmission",30,4960,"N"]
[423,"SW-25-081-21-W5",2,88,"EXTA1050",30,4140,"N"]
[424,"NE-24-052-23-W4",3,168,"Bretona Transmission",100,4960,"N"]
[425,"NW-14-080-22-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[426,"NE-35-077-20-W5",1,88,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[427,"08-25-82-22-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[428,"SW-29-081-21-W5",1,88,"WORSLEY-MCLENNAN TRANSMISSION",30,4140,"N"]
[429,"SE-06-70-05-W6",2,33,"Gold Creek Transmission",100,6550,"N"]
[430,"12-04-089-09-W4 TO 13-09-089-09-W4",1,168,"EXT199",30,6200,"N"]
[431,"NW-05-059-04-W5",1,323,"Swan Hills Transmission",30,6550,"N"]
[432,"SE-18-054-24-W4",1,60,"St Albert-North Edmonton Lateral",30,3450,"Y","2016-06-01","Defects Found","P, S, IP, LF, IUC",null,"Not Started","Unknown"]
[433,"NE-25-052-24-W4",2,219,"CIL Transmission",30,3450,"N"]
[434,"NE-22-053-17-W5",3,273,"Wabamun to Hinton Transmission",30,7240,"N"]
[435,"04-053-25-W4 &\n05-053-25-W4",2,219,"Acheson Transmission",30,3450,"N"]
[436,"NE-13-023-01-W5 &\nSE-24-023-01-W5",1,60,"Carbon Transmission",30,5090,"N"]
[437,"SE-06-067-10-W5",1,114,"House Mountain Pipeline",30,9930,"N"]
[438,"15-27-50-26-W4",1,219,"Devon Transmission",30,6890,"N"]
[439,"NE-20-056-23-W4",1,323,"Legal-Uncas Transmission",100,3447,"N"]
[440,"SE-24-050-26-W4",1,406,"Pembina Loop",100,6140,"N"]
[441,"SE-23-063-02-W4",3,88,"NOVA-Grande Centre-Cold Lake Transmission",30,4140,"N"]
[442,"SW-26-039-27-W4",3,168,"Southern Extension",30,4830,"N"]
[443,"SW-35-038-01-W5",1,168,"Sylvan Lake Transmission",30,4688,"N"]
[444,"NE-11-053-23-W4",3,273,"Bittern Lake to Redwater transmission",30,6830,"N"]
[445,"03-18-019-13-W4 &\n12-07-019-13-W4",1,114,"Princess - Brooks Transmission",30,2070,"N"]
[446,"SE-36-036-28-W4",3,168,"Nevis - Airdrie",30,4960,"N"]
[447,"NE-18-026-26-W4",1,168,"Carbon Loop",30,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[448,"13-02-26-29-W4 &\n01-10-26-29-W4 &\n04-11-26-29-W4",2,219,"Petrogas - Airdrie Transmission",30,4960,"N"]
[449,"NE-16-053-23-W4",1,508,"Ardrossan Transmission",30,3100,"N"]
[450,"NE-10-049-26-W4",1,610,"Homeglen Transmission",30,6205,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L",4534,"Not Started","Unknown"]
[451,"SE-21-053-23-W4",2,762,"Cloverbar Lateral",100,8450,"N"]
[452,"SE-35-055-21-W4",1,323,"Esso Chemical Lateral",100,8450,"N"]
[453,"NW-27-053-25-W4 & \nNE-28-053-25-W4 &\nSE-02-052-25-W4",3,273,"ATCO Gas (Bittern Lake to Redwater Transmission)",30,4140,"N"]
[454,"NW-02-025-08-W5",1,323,"Banff Loop (323.9)",30,4960,"N"]
[455,"12-33-55-21W4 &\n13-33-55-21W4 & \n12-08-56-21W4",2,610,"Esso Chemical Lateral",30,8450,"N"]
[456,"NE-30-042-09-W4",1,60,"Irma-Hardisty Transmission",30,6210,"N"]
[457,"NW-12-051-23-W4",1,168,"Bretona Transmission",30,4960,"N"]
[458,"NE-14-051-25-W5",2,88,"Jasper Transmission",30,7240,"N"]
[459,"NW-17-057-21-W4",1,168,"Bittern Lake to Redwater transmission",30,4960,"N"]
[460,"SE-23-25-05-W5       ",1,273,"273.1 Banff Loop",30,4960,"N"]
[461,"NW-18-037-27-W4",2,168,"Nevis - Airdrie",30,4960,"N"]
[462,"NW-21-06-21-W4",1,114,"Cardston Loop",40,2275,"N"]
[463,"05-27-035-28-W4",2,168,"Nevis - Airdrie",40,4960,"N"]
[464,"SE-23-025-05-W5",1,273,"273.1 Banff Loop",40,4960,"N"]
[465,"SW-25-025-07-W5",1,323,"Banff Loop (323.9)",40,4960,"N"]
[466,"NW-10-056-23-W4",2,323,"Legal-Uncas Transmission",30,3447,"N"]
[467,"SW-25-057-25-W4",3,114,"Legal-Uncas Transmission",30,3447,"N"]
[468,"16-02-057-03-W5",1,323,"Swan Hills Transmission",40,6550,"N"]
[469,"12-10-055-01-W5",1,323,"Swan Hills Transmission",40,6380,"N"]
[470,"NW-16-088-09-W4",1,114,"Fort McMurray Transmission",40,6205,"N"]
[471,"SE-36-052-23-W4",3,273,"Bittern Lake to Redwater transmission",40,6830,"N"]
[472,"10-25-048-07-W5",1,114,"Pembina Transmission",100,6580,"N"]
[473,"NE-16-049-08-W5",1,323,"IS5220",100,9930,"N"]
[474,"06-33-08-22-W4",1,168,"Willowbrook Lateral",100,4960,"N"]
[475,"14-14-023-27-W4",3,114,"Indus Lateral",100,6240,"N"]
[476,"SW-02-026-29-W4",2,114,"Petrogas - Airdrie Transmission",100,4960,"N"]
[477,"01-28-50-09-W4",1,323,"Birch Lake Transmission",100,8450,"N"]
[478,"NW-27-038-01-W5 &\nNE-28-038-01-W5",3,168,"Sylvan Lake Transmission",30,4688,"N"]
[479,"NW-17-056-21-W4",2,219,"Bittern Lake to Redwater transmission",100,4830,"N"]
[480,"NE-18-09-21-W4",3,42,"Hardieville Lateral",30,2070,"N"]
[481,"SE-13-052-23-W4",1,168,"Bretona Transmission",30,4960,"N"]
[482,"SE-03-051-25-W4",1,406,"Pembina Transmission",100,6140,"N"]
[483,"12-09-089-09-W4",3,114,"EXTA1087",100,0,"N"]
[484,"07-15-089-09-W4",1,88,"Fort McMurray Transmission",100,6205,"N"]
[485,"NE-23-028-01-W5",3,88,"Nevis - Airdrie",30,4960,"N"]
[486,"15-10-095-06-W4",1,88,"EXT216",30,9930,"N"]
[487,"16-33-010-21-W4",3,219,"Picture Butte Branch",100,2070,"N"]
[488,"NE-16-053-23-W4",1,88,"Ardrossan Transmission",30,3100,"N"]
[489,"NW-34-038-01-W5",3,88,"Sylvan Lake Transmission",100,4690,"N"]
[490,"SE-36-051-04-W5",2,323,"Genesee-Keephills Transmission",100,6130,"N"]
[491,"10-36-051-04-W5",2,219,"Genesee-Keephills Transmission",30,4960,"N"]
[492,"08-02-051-19-W4",3,406,"Viking-Edmonton Transmission - Line #3",30,4030,"N"]
[493,"NE-29-054-22-W4",3,60,"Legal-Uncas Transmission",30,4447,"N"]
[494,"NE-17-006-20-W4",1,114,"Stirling Transmission",30,3070,"N"]
[495,"15-10-056-22-W4",1,323,"Redwater Transmission",30,4960,"N"]
[496,"10-19-089-09-W4",2,114,"EXT262",100,6200,"N"]
[497,"SW-31-089-09-W4",1,114,"EXT198",100,6205,"N"]
[498,"SE-26-051-25-W4",1,219,"IS1541",30,6070,"N"]
[499,"02-01-038-25-W4",1,60,"IS7618",100,4960,"N"]
[500,"SE-21-053-23-W4",2,762,"Cloverbar Lateral",100,8450,"N"]
[501,"14-21-07-17-W4 &\n15-21-07-17-W4",1,60,"Wrentham #2 Lateral (60.3)",30,1900,"N"]
[502,"NE-25-071-06-W6",3,168,"EXT58",30,6550,"N"]
[503,"09-29-022-29-W4",3,219,"McKenzie Gate Lateral",100,6140,"N"]
[504,"08-05-049-07-W5",1,88,"Pembina Lobstick Transmission",30,3720,"N"]
[505,"NW-34-049-23-W4",1,219,"Bittern Lake to Redwater transmission",100,9650,"N"]
[506,"SW-34-09-21-W4",1,273,"Lethbridge East #1 Branch (273.1)",100,2070,"N"]
[507,"NW-01-044-04-W4",1,60,"Edgerton Town Line",30,8620,"N"]
[508,"SE-23-051-25-W5",2,114,"Jasper Transmission",100,6900,"N"]
[509,"NW-06-082-21-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138,"N"]
[510,"NE-25-51-23-W4",1,168,"Bretona Transmission",40,4960,"N"]
[511,"NW-25-044-07-W4",2,114,"Wainwright Transmission",100,5170,"N"]
[512,"02-26-049-08-W4",1,168,"Vermilion Transmission",100,5170,"N"]
[513,"SE-26-049-08-W4",1,168,"Vermilion Transmission",30,5170,"N"]
[514,"SW-02-086-06-W6",1,114,"Worsley-McLennan Transmission",100,9930,"N"]
[515,"NE-22-023-01-W5",3,323,"Jumping Pound Transmission",100,4960,"N"]
[516,"SE-27-046-22-W4",1,168,"Bittern Lake to Redwater transmission",100,8140,"N"]
[517,"12-16-053-23-W4",1,323,"Edmonton Refinery Delivery Pipeline",100,8450,"N"]
[518,"SE-03-053-26-W4",2,323,"Swan Hills Transmission",100,6200,"N"]
[519,"NE-22-023-01-W5",3,323,"Jumping Pound Transmission",40,4960,"N"]
[520,"SE-21-023-29-W4",3,219,"Western Coop Feritizer Plant Branch Line",100,5520,"N"]
[521,"12-22-020-29-W4",3,323,"Mainline South (North)",100,4960,"N"]
[522,"SW-02-053-26-W4",1,168,"Swan Hills Transmission",30,3450,"N"]
[523,"14-28-037-27-W4",2,168,"Nevis - Airdrie",30,4960,"N"]
[524,"02-22-025-29-W4",1,406,"Jumping Pound West Transmission",30,5090,"N"]
[525,"NW-27-053-25-W4",3,323,"Villeneuve Transmission",80,8480,"N"]
[526,"SE-26-052-24-W4",3,219,"IS6462",100,3447,"N"]
[527,"NW-27-053-25-W4",3,323,"Villeneuve Transmission",30,8480,"N"]
[528,"NW-27-053-25-W4",3,323,"Villeneuve Transmission",30,8480,"N"]
[529,"NW 27-53-25-W4 &\nS-34-53-25-W4","3,1",323,"Villeneuve Transmission",30,8480,"N"]
[530,"NW-34-052-27-W4",2,168,"Stony Plain Transmission",100,3450,"N"]
[531,"NE-08-052-21-W4",1,42,"Viking-Edmonton - Loops & Branches",30,2210,"N"]
[532,"02-09-043-25-W4",3,168,"Southern Extension",30,4830,"N"]
[533,"SE-10-052-24-W5",1,273,"Wabamun to Hinton Transmission",100,7240,"N"]
[534,"NE-11-039-27-W4",2,114,"Southern Extension",100,4820,"N"]
[535,"12-19-027-24-W4 TO 02-13-027-25-W4",1,508,"Carbon Loop",30,6240,"Y","2015-12-01","Defects Found","P, S, IP, LF, IUC",4635,"2016-02-01","Repairs Required"]
[536,"NE-09-053-22-W4",1,26,"Ardrossan Transmission",30,1030,"N"]
[537,"02-22-025-29-W4",1,406,"Jumping Pound West Transmission",30,5090,"N"]
[538,"SW-23-049-26-W4",1,323,"Bonnie Glen Transmission",30,5520,"Y","2016-03-01","Defects Found","P, S, IP, LF, IUC, EUC, H/L",4534,"Not Started","Unknown"]
[539,"15-35-053-25-W4",1,323,"North Edmonton Loop",30,3450,"N"]
[540,"07-15-088-09-W4",1,88,"Fort McMurray Transmission",30,6205,"N"]
[541,"06-29-051-24-W4",3,406,"Pembina Transmission",100,6140,"N"]
[542,"04-11-054-24-W4",2,406,"North Edmonton Loop",30,3450,"N"]
[543,"06-16-025-03-W5",2,42,"Jumping Pound West Transmission",30,5295,"N"]
[544,"05-01-074-11-W6",1,114,"Hythe-Beaverlodge Transmission",100,4140,"N"]
[545,"03-10-055-22-W4",2,323,"Legal-Uncas Transmission",100,3447,"N"]
[546,"11-03-039-27-W4 TO 14-03-039-27-W4",2,168,"Southern Extension",30,4830,"N"]
[547,"14-10-039-27-W4",1,168,"Southern Extension",30,4830,"N"]
[548,"12-21-038-27-W4",3,168,"Nevis Transmission",30,4690,"N"]
[549,"NW-22-024-10-W5",3,323,"Banff Loop (323.9)",40,4960,"N"]
[550,"11-025-08-W5",1,219,"Banff Transmission",30,4960,"N"]
[551,"14-17-006-20-W4",1,114,"Stirling Transmission",40,3070,"N"]
[552,"05-33-004-23-W4",1,60,"Spring Coulee Branch",40,3070,"N"]
[553,"11-03-053-26-W4",2,323,"Swan Hills Transmission",40,6380,"N"]
[554,"NW-13-49-27-W5 &\nNW-19-49-26-W5 &\nSE-30-49-26-W5 &\nNW-29-49-26-W5",1,114,"Jasper Transmission",30,6900,"N"]
[555,"04-06-055-22-W4",1,273,"Bittern Lake to Redwater transmission",40,4140,"N"]
[556,"04-05-057-21-W4",1,168,"Bittern Lake to Redwater transmission",40,4960,"N"]
[557,"04-034-047-09-W5",1,508,"Pembina Transmission",100,6690,"N"]
[558,"15-15-047-07-W5",1,168,"IS5520",100,6580,"N"]
[559,"08-17-050-07-W5",1,168,"Pembina Lobstick Transmission",100,8274,"N"]
[560,"02-04-010-15-W4",1,114,"Fincastle South Transmission",100,4970,"N"]
[561,"01-05-53-26-W4",2,60,"Stony Plain Transmission",100,3450,"N"]
[562,"NE-14-055-22-W4",2,168,"Bittern Lake to Redwater Transmission",100,4960,"N"]
[563,"16-23-022-01-W5",3,406,"Priddis Transmission Line (406.3)",100,6140,"N"]
[564,"15-31-050-25-W5",1,114,"Jasper Transmission",100,4960,"N"]
[565,"04-17-050-02-W4",1,168,"Lloydminster Transmission",100,5520,"N"]
[566,"06-33-024-10-W5",3,168,"Banff Transmission",30,4960,"N"]
[567,"16-27-22-29-W4",3,406,"Priddis Transmission Line (406.3)",30,6140,"N"]
[568,"NE-31-055-21-W4",2,168,"Bittern Lake to Redwater transmission",30,4960,"N"]
[569,"04-06-054-23-W4",2,219,"Fort Sask.-North Edmonton Lateral",30,3450,"N"]
[570,"03-21-050-05-W4",1,168,"Lloydminster Transmission",100,5520,"N"]
[571,"01-20-050-05-W4",1,168,"Lloydminster Transmission",30,5520,"N"]
[572,"02-33-050-06-W4",1,88,"Myrnam Transmission",30,8270,"N"]
[573,"SW-35-023-29-W4 TO SE-36-023-29-W4",2,219,"Chestermere Lake Loop",30,5090,"N"]
[574,"14-26-022-26-W4",1,60,"Carseland Branch",30,3100,"N"]
[575,"08-01-054-25-W4 &\n05-06-54-24-W5 &\n08-01-54-25-W4",1,323,"North Edmonton Loop",30,3450,"N"]
[576,"NE-34-052-22-W4",1,60,"Viking Branch Line",30,5085,"N"]
[577,"05-01-074-11-W6",1,114,"Hythe-Beaverlodge Transmission",100,4140,"N"]
[578,"04-02-010-19-W4",1,323,"Mainline East (West)",30,4960,"N"]
[579,"S-22-025-29-W4",1,406,"Jumping Pound West Transmission",30,5090,"N"]
[580,"15-25-071-06-W6",3,168,"EXT58",40,6550,"N"]
[581,"05-18-025-02-W5",3,406,"Jumping Pound West Transmission",100,5085,"N"]
[582,"NW-06-054-23-W4 &\nNW-01-54-24-W4",1,323,"Villeneuve Transmission",30,8480,"N"]
[583,"09-01-054-25-W4",3,323,"Villenueve Transmission",30,8480,"N"]
[584,"05-08-54-24-W4 TO \n08-08-54-24-W4",3,406,"North Edmonton Loop",30,3450,"N"]
[585,"02-11-054-24-W4",1,323,"Villeneuve Transmission",30,8480,"N"]
[586,"NE-01-054-24-W4",1,323,"Villeneuve Transmission",30,8480,"N"]
[587,"SE-01-054-24-W4",1,323,"North Edmonton Loop",30,3450,"N"]
[588,"S-05-053-25-W4",2,219,"Acheson Transmission",30,3450,"N"]
[589,"19-053-26-W4 TO \n20-053-26-W4",1,323,"Swan Hills Transmission",30,6380,"N"]
[590,"12-28-056-06-W5",1,273,"Paddle River Transmission",30,5520,"N"]
[591,"04-01-053-28-W4","2,1",168,"Stony Plain Transmission",30,3450,"N"]
[592,"04-06-012-19-W4",1,60,"Turin East Transmission",30,6720,"N"]
[593,"16-32-069-06-W6",1,60,"Grovedale",30,8270,"N"]
[594,"13-12-074-04-W6",1,88,"Teepee Creek Transmission",100,4960,"N"]
[595,"10-18-019-14-W4",1,60,"Brooks Lakeside Feeders Tr.Line",30,4970,"N"]
[596,"03-18-028-23-W4 &\n14-17-028-23-W4",1,114,"PCP - Entice Transmission",60,5520,"N"]
[597,"14-21-042-02-W5 TO\n15-21-042-02-W5",2,60,"Rimbey Nova South Transmission",30,6200,"N"]
[598,"SW-22-045-25-W4",1,60,"IS6316",100,3100,"N"]
[599,"03-01-095-11-W4",1,406,"Muskeg River",30,9930,"N"]
[600,"09-14-072-06-W6",2,114,"EXT58",100,6550,"N"]
[601,"11-08-052-24-W4",4,406,"Rossdale Transmission",100,2700,"N"]
[602,"14-23-054-22-W4",1,406,"Legal-Uncas Transmission",30,3450,"N"]
[603,"S-27-038-27-W4",2,168,"Nevis Transmission",30,4960,"N"]
[604,null,1,88,"PROVOST",30,4140,"N"]
[605,"14-28-09-21-W4",1,168,"Mainline East (West)",30,4960,"N"]
[606,"08-34-011-20-W4",1,60,"Turin East Transmission",30,6720,"N"]
[607,"13-09-013-23-W4",1,88,"Vulcan Transmission",30,6620,"N"]
[608,"11-17-038-03-W4",1,88,"PROVOST",30,4140,"N"]
[609,"05-18-024-02-W5",1,323,"Jumping Pound Transmission",30,4960,"N"]
[610,"01-30-055-22-W4",1,323,"Legal-Uncas Transmission",100,3447,"N"]
[611,"15-10-095-10-W4",1,406,"Muskeg River",30,9930,"N"]
[612,"04-04-054-18-W4",1,508,"Inland-Ft Saskatchewan Transmission",40,8450,"N"]
[613,"16-24-052-17-W4",1,508,"Inland-Ft Saskatchewan Transmission",40,8450,"N"]
[614,"16-34-050-15-W4",1,508,"Inland-Ft Saskatchewan Transmission",40,8450,"N"]
[615,"SW-10-039-27-W4 TO NW-23-039-27-W4","2,1",219,"Southern Extension",30,4830,"N"]
[616,"03-27-025-26-W4",1,88,"Strathmore Branch",30,6620,"N"]
[617,"09-03-051-11-W4",1,60,"Lavoy-Minburn Transmission",40,3450,"N"]
[618,"16-24-052-17-W4",1,508,"Inland-Ft Saskatchewan Transmission",100,8450,"N"]
[619,"16-26-09-12-W4",1,60,"Yellow Lake Branch",100,3360,"N"]
[620,"SE-14-025-28-W4",1,406,"Carbon Transmission",100,5520,"N"]
[621,"07-08-020-02-W5",3,114,"Black Diamond Branch",30,2130,"N"]
[622,"12-04-055-22-W4",1,273,"Bittern Lake to Redwater transmission",30,4140,"N"]
[623,"SW-11-054-24-W4",2,406,"North Edmonton Loop",30,3450,"N"]
[624,"16-02-054-24-W4",1,219,"North Edmonton Loop",30,3450,"N"]
[625,"SW-11-054-24-W4",2,406,"North Edmonton Loop",30,3450,"N"]
[626,"SE-26-054-01-W5",1,323,"Paddle River Transmission",30,5520,"N"]
[627,"07-36-051-23-W4",1,168,"Bretona Transmission",40,4960,"N"]
[628,"10-19-082-25-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",100,4138,"N"]
[629,"SE-26-054-01-W5",1,323,"Paddle River Transmission",30,5520,"N"]
[630,"08-17-045-07-W4",1,114,"Fabyan Transmission",30,1900,"N"]
[631,"13-34-014-18-W4",1,42,"TCPL Town Line",30,3450,"N"]
[632,"NW-35-025-29-W4 &\nSW-02-026-29-W4",2,219,"Petrogas - Carbon Transmission",30,5520,"N"]
[633,"16-28-009-21-W4",1,273,"Lethbridge East #1 Branch (273.1)",40,2070,"N"]
[634,"SW-02-024-29-W4",3,406,"Carbon Transmission",30,4700,"N"]
[635,"NW-02-024-29-W4",3,406,"Carbon Transmission",30,4700,"N"]
[636,"SW-03-019-14-W4 &\n03-03-019-14-W4",2,114,"Princess - Brooks Transmission",30,2070,"N"]
[637,"NE-10-045-07-W4",1,114,"Fabyan Transmission",30,1900,"N"]
[638,"NE-17-083-21-W5 &\nNW-29-083-21-W5","3,1",114,"WORSLEY-MCLENNAN TRANSMISSION",80,4138,"N"]
[639,"08-04-050-17-W4",3,406,"Viking-Edmonton Transmission - Line #3",30,4030,"N"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}