{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":632,"n_cols":15,"rows_kept":632,"cut":false,"hidden":false,"merged":[]}
["ATCO-AUC-2017MARCH02 - DECEMBER 2016 Update"]
["ROW NO.","Location (LSD)","Class Location","Pipeline Size (mm)","Pipeline Name","ESTIMATED NO. WELDS","MOP (kPa)","INSPECTED (Y/N)","DATE OF FIELD INSPECTION","INSPECTION DISPOSITION","CRITICAL DEFECTS IDENTIFIED (Y/N)","DERATE PRESSURE (kPa)","DATE OF ENGINEERING ASSESSMENT","ASSESSMENT DISPOSITION","REPAIRS COMPLETE (Y/N)"]
[1,"06-33-24-10-W5 & \n09-07-25-10-W5 &\nNE-28-24-10-W5 ","3,1",168,"Banff Transmission",80,4960]
[2,"SW 21-47-08-W4 &\nSE 15-47-08-W4 &\nSW 05-47-07-W4 &\nNW 25-46-07-W4",1,273,"Auburndale East Transmission",40,4960]
[3,"NE-22-071-07-W6",1,114,"EXT58",30,6550]
[4,"SE-24-050-26-W4",1,406,"Pembina Loop",30,6140]
[5,"13-24-052-22-W4 &\n16-23-52-22-W4",1,406,"Viking-Edmonton Transmission - Line #4",30,4030]
[6,"SW 06-48-26-W4 &\nSW 17-48-26-W4",1,323,"Bonnie Glen Transmission",40,6205]
[7,"SE-35-49-26-W4",1,323,"Bonnie Glen Transmission",40,6205]
[8,"SE-19-53-23-W4  &\nSW-20-53-23-W4","3,1",273,"Bittern Lake to Redwater transmission",48,4140]
[9,"NW-04-043-25-W4",1,60,"Southern Extension",100,4830]
[10,"SW-05-011-25-W4",1,168,"Fort Macleod Branch",100,4960]
[11,"05-10-054-24-W4",1,406,"Inland-Ft Saskatchewan Transmission",30,8450]
[12,"SW-35-059-12-W5",3,219,"Whitecourt Transmission",10,6210]
[13,"NE-36-048-13-W4",1,323,"Birch Lake Transmission",40,8450]
[14,"NE-03-024-02-W5",3,60,"Jumping Pound Transmission",5,4960]
[15,"NE-25-053-24-W4 & \nSE-04-54-24-W4",3,273,"Bittern Lake Transmission",20,3460]
[16,"NW-26-051-25-W4",3,323,"Swan Hills Transmission",5,6200]
[17,"SE-26-028-01-W5",3,60,"Nevis - Airdrie",15,4960]
[18,"NW-31-050-07-W5",1,26,"IS5161",30,8274]
[19,"NW-08-053-23-W4 ",2,88,"East Edmonton Interconnection",25,3450]
[20,"03-10-39-27-W4",2,168,"Southern Extension",80,4830]
[21,"NE-16-009-21-W4",1,273,"Lethbridge East #1 Branch (273.1)",30,2070]
[22,"SW-13-083-23-W5",1,88,"Peace River Correctional Lateral",30,4140]
[23,"NE-07-083-23-W5",3,114,"Worsley-McLennan Transmission",20,4138]
[24,"NE-16-83-23-W5",1,88,"Grimshaw Alfalfa Lateral",30,4140]
[25,"03-20-21-29-W4",1,323,"Banff Loop (323.9)",40,4960]
[26,"SE-21-039-22-W4",1,88,"Alix, Mirror, Bashaw Transmission",30,4960]
[27,"SW-08-022-26-W4",2,60,"Carseland Transmission",10,6240]
[28,"NW-32-047-24-W4",2,60,"Millet Transmission",140,5510]
[29,"Multiple",2,33,"Millet Transmission",60,5510]
[30,"NW-12-053-04-W5 &\nSW-13-053-04-W5","2,1",273,"Wabamun - Onoway Transmission",5,4830]
[31,"SW-21-056-23-W4",1,323,"Legal-Uncas Transmission",30,3447]
[32,"NE-21-038-23-W4",1,88,"Cimarron Transmission",100,4960]
[33,"NE-05-053-23-W4",2,219,"East Edmonton Interconnection",270,4960]
[34,"12-29-40-15-W4",1,26,"Forestburg Generating Plant Transmission",100,8450]
[35,"SE-10-055-22-W4",2,60,"Ft Sask Hydrocarbon to Chemical",35,3450]
[36,"NE-36-037-04-W4",1,88,"Provost",100,4140]
[37,"12-19-054-27-W4",2,323,"Paddle River Transmission (CU Lease)",230,5520]
[38,"SE-34-026-29-W4 TO\nSE-36-026-01-W5","2,1",168,"Petrogas - Airdrie Transmission",40,4960]
[39,"NE-31-050-25-W5",1,114,"Jasper Transmission",100,6900]
[40,"SE 07-08-05-W5 TO\nSW 16-08-05-W5",1,60,"Summit Lime Transmission",30,5820]
[41,"SW-27-035-28-W4",2,168,"Nevis - Airdrie",40,4960]
[42,"NE-34-037-27-W4",3,168,"Nevis - Airdrie",40,4960]
[43,"SW-25-081-21-W5",2,60,"Worsley-McLennan Transmission",10,4140]
[44,"NE-24-052-23-W4",3,323,"Bretona Transmission",90,4960]
[45,"NW-14-080-22-W5",1,114,"Worsley-McLennan Transmission",30,4138]
[46,"NE-35-077-20-W5",1,88,"Worsley-McLennan Transmission",30,4138]
[47,"08-25-82-22-W5",1,114,"Worsley-McLennan Transmission",30,4138]
[48,"SW-29-081-21-W5",1,88,"Worsley-McLennan Transmission",30,4140]
[49,"SE-06-70-05-W6",2,33,"Gold Creek Transmission",100,6550]
[50,"12-04-089-09-W4 TO 13-09-089-09-W4",1,168,"EXT199",30,6200]
[51,"NW-05-059-04-W5",1,323,"Swan Hills Transmission",30,6550]
[52,"SE-18-054-24-W4",1,60,"St Albert-North Edmonton Lateral",30,3450]
[53,"NE-25-052-24-W4",2,60,"East Edmonton Interconnection",5,3450]
[55,"04-053-25-W4 &\n05-053-25-W4",2,60,"Acheson Transmission",20,3450]
[56,"NE-13-023-01-W5 &\nSE-24-023-01-W5",1,60,"A1786",30,5090]
[57,"SE-06-067-10-W5",1,114,"House Mountain Pipeline",30,9930]
[58,"SE-36-050-26-W4",1,323,"Bonnie Glen Transmission",60,5520]
[59,"15-27-50-26-W4",1,273,"Devon Loop Transmission",8,6890]
[60,"NE-20-056-23-W4",1,323,"Legal-Uncas Transmission",100,3447]
[61,"SE-24-050-26-W4",1,406,"Pembina Loop",100,6140]
[62,"SE-23-063-02-W4",3,60,"NOVA-Grande Centre-Cold Lake Transmission",5,4140]
[63,"SW-26-039-27-W4",3,168,"Southern Extension",30,4380]
[64,"SW-35-038-01-W5",1,168,"Sylvan Lake Transmission",30,4688]
[65,"NE-11-053-23-W4",3,273,"Bittern Lake to Redwater transmission",30,6830]
[66,"03-18-019-13-W4 &\n12-07-019-13-W4",1,114,"Princess - Brooks Transmission",30,2070]
[67,"SE-36-036-28-W4",3,33,"Nevis - Airdrie",2,4960]
[69,"SE-34-55-21-W4 TO\nSW-05-56-21-W4","2,1",406,"Scotford Upgrader Expansion 1 Transmission",50,8450]
[70,"13-02-26-29-W4 &\n01-10-26-29-W4 &\n04-11-26-29-W4",2,168,"Petrogas - Airdrie Transmission",20,4960]
[71,"NE-16-053-23-W4",1,508,"East Edmonton Interconnection",100,3100]
[72,"NE-10-049-26-W4",1,42,"Bonnie Glen Transmission",2,6205]
[73,"SE-21-053-23-W4",2,508,"Cloverbar / SEEP Spill",20,8450]
[74,"SE-35-055-21-W4",1,323,"Esso Chemical Lateral",100,8450]
[75,"7-34-55-21-W4",1,323,"Esso Chemical Lateral",50,8450]
[76,"NW-27-053-25-W4 & \nNE-28-053-25-W4 &\nSE-02-052-25-W4",3,323,"ATCO Gas (Bittern Lake to Redwater Transmission)",5,4140]
[77,"NW-02-025-08-W5",1,323,"Banff Loop (323.9)",30,4960]
[78,"12-33-55-21W4 &\n13-33-55-21W4 & \n12-08-56-21W4",2,610,"Esso Chemical Lateral",40,8450]
[79,"NE-30-042-09-W4",1,60,"Irma - Hardisty Transmission",50,6205]
[80,"NW-12-051-23-W4",1,168,"Bretona Transmission",30,4960]
[81,"NE-14-051-25-W5",2,33,"Jasper Transmission",5,7240]
[82,"NW-17-057-21-W4",1,168,"Bittern Lake to Redwater transmission",30,4960]
[83,"SE-23-25-05-W5       ",1,273,"273.1 Banff Loop",30,4960]
[84,"NW-18-037-27-W4",2,168,"Nevis - Airdrie",10,4960]
[85,"NW-21-06-21-W4",1,114,"Cardston Loop",40,2275]
[86,"05-27-035-28-W4",2,168,"Nevis - Airdrie",60,4960]
[87,"SE-23-025-05-W5",1,273,"273.1 Banff Loop",40,4960]
[88,"SW-25-025-07-W5",1,323,"Banff Loop (323.9)",40,4960]
[89,"NW-10-056-23-W4",2,60,"Legal-Uncas Transmission",5,3447]
[90,"SW-25-057-25-W4",3,114,"Legal-Uncas Transmission",10,3447]
[91,"16-02-057-03-W5",1,323,"Swan Hills Transmission",40,6550]
[92,"12-10-055-01-W5",1,323,"Swan Hills Transmission",40,6380]
[93,"NW-16-088-09-W4",1,114,"Fort McMurray Transmission",40,6205]
[94,"SE-36-052-23-W4",3,273,"Bittern Lake to Redwater transmission",15,6830]
[95,"10-25-048-07-W5",1,114,"Pembina Transmission",100,6580]
[96,"NE-16-049-08-W5",1,323,"IS5220",100,9930]
[97,"06-33-08-22-W4",1,168,"Willowbrook Lateral",100,4960]
[98,"14-14-023-27-W4",3,60,"Indus Lateral",50,6240]
[99,"SW-02-026-29-W4",2,88,"Petrogas - Airdrie Transmission",10,4960]
[100,"01-28-50-09-W4",1,323,"Birch Lake Transmission",100,8450]
[101,"NW-27-038-01-W5 &\nNE-28-038-01-W5",3,168,"Sylvan Lake Transmission",30,4688]
[102,"NW-17-056-21-W4",2,273,"Bittern Lake to Redwater transmission",100,4830]
[103,"NE-18-09-21-W4",3,33,"Lethbridge West Branch Line",5,2070]
[104,"SE-13-052-23-W4",1,168,"Bretona Transmission",30,4960]
[105,"SE-03-051-25-W4",1,406,"Pembina Transmission",100,6140]
[107,"07-15-089-09-W4",1,88,"Fort McMurray Transmission",100,6205]
[108,"NE-23-028-01-W5",3,88,"Nevis - Airdrie",2,4960]
[109,"15-10-095-06-W4",1,88,"EXT216",30,9930]
[110,"16-33-010-21-W4",3,60,"Picture Butte Branch",10,2070]
[111,"NE-16-053-23-W4",1,88,"Ardrossan Transmission",30,3100]
[112,"NW-34-038-01-W5",3,114,"Sylvan Lake Transmission",10,4690]
[113,"SE-36-051-04-W5",2,323,"Genesee-Keephills Transmission",200,6130]
[114,"10-36-051-04-W5",2,168,"Genesee-Keephills Transmission",15,4960]
[115,"08-02-051-19-W4",3,60,"Viking-Edmonton Transmission - Line #3",20,4030]
[116,"NE-29-054-22-W4",3,114,"Legal-Uncas Transmission",15,4447]
[117,"NE-17-006-20-W4",1,114,"Stirling Transmission",30,3070]
[118,"15-10-056-22-W4",1,323,"Redwater Transmission",30,4960]
[119,"10-19-089-09-W4",2,114,"EXT262 (Ft. McMurray Gate No. 5)",30,6200]
[120,"SW-31-089-09-W4",1,114,"EXT198",100,6205]
[121,"SE-26-051-25-W4",1,219,"IS1541",30,6070]
[122,"02-01-038-25-W4",1,60,"IS7618",100,4960]
[123,"SE-21-053-23-W4",2,219,"Cloverbar / SEEP Spill",5,8450]
[124,"14-21-07-17-W4 &\n15-21-07-17-W4",1,60,"Wrentham #2 Lateral (60.3)",30,1900]
[125,"NE-25-071-06-W6",3,168,"EXT58",10,6550]
[126,"09-29-022-29-W4",3,219,"McKenzie Gate Lateral",10,6140]
[127,"08-05-049-07-W5",1,88,"Pembina Lobstick Transmission",30,3720]
[128,"NW-34-049-23-W4",1,219,"Bittern Lake to Redwater transmission",100,9650]
[129,"SW-34-09-21-W4",1,273,"Lethbridge East #1 Branch (273.1)",100,2070]
[130,"NW-01-044-04-W4",1,60,"Edgerton Town Line",30,8620]
[131,"SE-23-051-25-W5",2,60,"Jasper Transmission",20,6900]
[132,"NW-06-082-21-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138]
[133,"NW-4-41-26-W4 to SE-27-46-22-W4","3,2,1",219,"Southern Extension",240,4830]
[134,"NE-25-51-23-W4",1,168,"Bretona Transmission",40,4960]
[135,"NW-25-044-07-W4",2,114,"Wainwright Transmission",20,5170]
[136,"02-26-049-08-W4",1,168,"Vermilion Transmission",100,5170]
[137,"SE-26-049-08-W4",1,168,"Vermilion Transmission",30,5170]
[138,"SW-02-086-06-W6",1,114,"Worsley-McLennan Transmission",100,9930]
[139,"NE-22-023-01-W5",3,406,"Jumping Pound Transmission",15,4960]
[140,"SE-27-046-22-W4",1,168,"Bittern Lake to Redwater transmission",100,8140]
[141,"12-16-053-23-W4",1,323,"Edmonton Refinery Delivery Pipeline",100,8450]
[142,"SE-03-053-26-W4",2,273,"Swan Hills Transmission",40,6200]
[143,"NE-22-023-01-W5",3,323,"Jumping Pound Transmission",30,4960]
[144,"SE-21-023-29-W4",3,60,"Western Coop Feritizer Plant Branch Line",10,5520]
[145,"12-22-020-29-W4",3,114,"Mainline South (North)",15,4960]
[146,"SW-02-053-26-W4",1,168,"Swan Hills Transmission",30,3450]
[147,"14-28-037-27-W4",2,114,"Nevis - Airdrie",15,4960]
[148,"02-22-025-29-W4",1,406,"Jumping Pound West Transmission",30,5090]
[149,"NW-27-053-25-W4",3,323,"Paddle River Transmission",125,8480]
[150,"SE-26-052-24-W4",3,323,"Viking-Edmonton Transmission - Line #4",215,3447]
[152,"NW-27-053-25-W4",3,219,"Paddle River Transmission",10,8480]
[153,"NW 27-53-25-W4 &\nS-34-53-25-W4","3,1",219,"Villeneuve Transmission",10,8480]
[154,"NW-34-052-27-W4",2,60,"Stony Plain Transmission",5,3450]
[155,"NE-08-052-21-W4",1,42,"Viking-Edmonton - Loops & Branches",30,2210]
[156,"02-09-043-25-W4",3,60,"Southern Extension",30,4830]
[157,"SE-10-052-24-W5",1,273,"Wabamun to Hinton Transmission",100,7240]
[158,"NE-11-039-27-W4",2,88,"Blackfalds Industrial Branch",5,4820]
[160,"NE-09-053-22-W4",1,26,"Ardrossan Transmission",30,1030]
[161,"02-22-025-29-W4",1,406,"Jumping Pound West Transmission",30,5090]
[162,"SW-05-056-21-W4",2,60,"Scotford Upgrader Expansion 1 Transmission",80,8450]
[163,"07-34-055-21-W4",1,406,"Shell Scotford Transmission",100,8450]
[164,"SW-23-049-26-W4",1,323,"Bonnie Glen Transmission",30,5520]
[165,"15-35-053-25-W4",1,323,"Villeneuve Transmission",10,8480]
[166,"07-15-088-09-W4",1,88,"Fort McMurray Transmission",30,6205]
[167,"06-29-051-24-W4",3,114,"Pembina Transmission",20,6140]
[168,"04-11-054-24-W4",2,33,"North Edmonton Loop",1,3450]
[169,"06-16-025-03-W5",2,114,"Jumping Pound West Transmission",10,5295]
[170,"05-01-074-11-W6",1,114,"Hythe-Beaverlodge Transmission",100,4140]
[171,"03-10-055-22-W4",2,323,"Legal-Uncas Transmission",200,3447]
[172,"11-03-039-27-W4 TO 14-03-039-27-W4",2,168,"Southern Extension",5,4830]
[173,"14-10-039-27-W4",1,168,"Southern Extension",30,4380]
[174,"12-21-038-27-W4",3,168,"Nevis Transmission",100,4690]
[175,"NW-22-024-10-W5",3,323,"Banff Loop (323.9)",30,4960]
[176,"11-025-08-W5",1,219,"Banff Transmission",30,4960]
[177,"14-17-006-20-W4",1,114,"Stirling Transmission",40,3070]
[178,"05-33-004-23-W4",1,60,"Spring Coulee Branch",40,3070]
[179,"11-03-053-26-W4",2,323,"Swan Hills Transmission",20,6380]
[180,"NW-13-49-27-W5 &\nNW-19-49-26-W5 &\nSE-30-49-26-W5 &\nNW-29-49-26-W5",1,114,"Jasper Transmission",30,6900]
[181,"04-06-055-22-W4",1,273,"Bittern Lake to Redwater transmission",40,4140]
[182,"04-05-057-21-W4",1,168,"Bittern Lake to Redwater transmission",40,4960]
[183,"04-034-047-09-W5",1,114,"Pembina Transmission (#7 Receipt Station)",100,6690]
[184,"15-15-047-07-W5",1,168,"IS5520",100,6580]
[185,"2-10-49-6-W5",1,114,"Berrymoore Lateral 1 &2",60,6140]
[186,"08-17-050-07-W5",1,168,"Pembina Lobstick Transmission",100,8274]
[187,"02-04-010-15-W4",1,88,"Fincastle South Transmission",45,4970]
[188,"01-05-53-26-W4",2,60,"Stony Plain Transmission",10,3450]
[189,"NE-14-055-22-W4",2,168,"Bittern Lake to Redwater transmission",150,4960]
[190,"16-23-022-01-W5",3,114,"Priddis Transmission Line (406.3)",10,6140]
[191,"15-31-050-25-W5",1,114,"Jasper Transmission",40,4960]
[192,"04-17-050-02-W4",1,114,"Lloydminster Transmission",100,5520]
[193,"06-33-024-10-W5",3,168,"Banff Transmission",30,4960]
[194,"16-27-22-29-W4",3,406,"Priddis Transmission Line (406.3)",60,6140]
[195,"NE-31-055-21-W4",2,168,"Bittern Lake to Redwater transmission",15,4960]
[196,"04-06-054-23-W4",2,219,"North Edmonton Loop",125,3450]
[197,"03-21-050-05-W4",1,168,"Lloydminster Transmission",100,5520]
[198,"01-20-050-05-W4",1,88,"Lloydminster Transmission",25,5520]
[199,"02-33-050-06-W4",1,88,"Myrnam Transmission",30,8270]
[200,"SW-35-023-29-W4 TO SE-36-023-29-W4",2,219,"Chestermere Lake Loop",150,5090]
[201,"04-30-024-28-W4",2,406,"Rockyview Branch",120,5090]
[202,"14-26-022-26-W4",1,60,"Carseland Branch",15,3100]
[203,"SE-30-042-09-W4",1,60,"Irma - Hardisty Transmission",5,6205]
[204,"08-01-054-25-W4 &\n05-06-54-24-W5 &\n08-01-54-25-W4",3,406,"North Edmonton Loop",30,3450]
[205,"NE-34-052-22-W4",1,60,"Viking-Edmonton - Loops & Branches",5,5085]
[206,"SE-27-46-22-W4 to NE-34-49-17-W4",1,168,"Bittern Lake to Redwater transmission",100,8140]
[207,"SE-27-46-22-W4 to NE-34-49-17-W4",1,168,"Bittern Lake to Redwater transmission",100,8140]
[208,"SE-27-46-22-W4 to NE-34-49-17-W4",1,168,"Bittern Lake to Redwater transmission",100,8140]
[209,"05-01-074-11-W6",1,114,"Hythe-Beaverlodge Transmission",100,4140]
[210,"04-02-010-19-W4",1,33,"Mainline East (West)",3,4960]
[212,"15-25-071-06-W6",3,168,"Grand Prairie Transmission",5,6550]
[213,"05-18-025-02-W5",3,60,"Jumping Pound West Transmission",10,5085]
[214,"NW-06-054-23-W4 &\nNW-01-54-24-W4",3,323,"Villeneuve Transmission",5,8480]
[215,"09-01-054-25-W4",3,323,"A1952",30,8480]
[216,"05-08-54-24-W4 TO \n08-08-54-24-W4",3,406,"North Edmonton Loop",10,3450]
[217,"02-11-054-24-W4",3,406,"Villeneuve Transmission",15,8480]
[218,"NE-01-054-24-W4",3,323,"Villeneuve Transmission",30,8480]
[219,"SE-01-054-24-W4",3,60,"North Edmonton Loop",10,3450]
[220,"S-05-053-25-W4",2,219,"Acheson Transmission",15,3450]
[221,"3-8-49-7-W5",2,60,"Pembina Lobstick Transmission",30,3720]
[222,"19-053-26-W4 TO \n20-053-26-W4",1,60,"Swan Hills Transmission",20,6380]
[223,"9-17-50-7-W5",1,168,"Pembina Lobstick Transmission",100,8274]
[224,"12-28-056-06-W5",1,219,"Paddle River Transmission",1,5520]
[225,"4-34-53-18-W4",1,508,"Norma Transmission",120,3450]
[226,"04-01-053-28-W4","2,1",168,"Stony Plain Transmission",100,3450,"Y","2016-12-16","Defects Found","N","N/A","Not Started","Unknown","N"]
[227,"9-8-20-2-W5",3,114,"Black Diamond Branch",100,2130]
[228,"SE-7-25-10-W5 to SE-28-24-10-W5",1,323,"Banff Loop (323.9)",100,4960]
[229,"1-32-20-14-W4",2,42,"Duchess Branch",1,6620]
[230,"04-06-012-19-W4",1,60,"Turin East Transmission",30,6720]
[231,"16-32-069-06-W6",1,60,"Grovedale",30,8270]
[232,"13-12-074-04-W6",1,88,"Teepee Creek Transmission",100,4960]
[233,"10-18-019-14-W4",1,60,"Brooks Lakeside Feeders Tr.Line",30,4970]
[234,"03-18-028-23-W4 &\n14-17-028-23-W4",1,114,"PCP - Entice Transmission",15,5520]
[235,"14-21-042-02-W5 TO\n15-21-042-02-W5",2,60,"Rimbey Nova South Transmission",100,6200]
[236,"SW-22-045-25-W4",1,168,"Southern Extension",40,3100]
[237,"03-01-095-11-W4",1,60,"TransCanada Fort Mackay",10,9930]
[238,"09-14-072-06-W6",2,114,"Grand Prairie Transmission",100,6550]
[239,"11-08-052-24-W4",4,323,"Rossdale Transmission",25,2070]
[240,"04-30-024-28-W4",2,406,"Rockyview Branch",100,5090]
[241,"14-23-054-22-W4",1,26,"Legal-Uncas Transmission",5,3450]
[242,"S-27-038-27-W4",2,168,"Nevis Transmission",10,4960]
[243,"SE 28-38-03 W4",1,88,"Provost",30,4140]
[244,"14-28-09-21-W4",1,42,"Mainline East",2,4960]
[245,"08-34-011-20-W4",1,42,"Turin East Transmission",2,6720]
[246,"13-09-013-23-W4",1,42,"Vulcan Transmission",2,6620]
[247,"11-17-038-03-W4",1,88,"Provost",30,4140]
[248,"LSD 3-30-24-28-W4 to SW 20-23-28-W4",2,508,"Shepard Transmission",150,6240,"Y","2015-11-01","Defects Found","Y",4635,"2016-02-01","Repairs Required","Y"]
[249,"05-18-024-02-W5",1,33,"Jumping Pound Transmission",2,4960]
[250,"SW & NE 32-51-24-W4",3,323,"Swan Hills Transmission",25,4030]
[251,"01-30-055-22-W4",1,323,"Legal-Uncas Transmission",50,3447]
[252,"15-10-095-10-W4",1,406,"Muskeg River",30,9930]
[253,"04-04-054-18-W4",1,508,"Inland-Ft Saskatchewan Transmission",20,8450]
[254,"16-24-052-17-W4",1,508,"Inland-Ft Saskatchewan Transmission",30,8450]
[255,"16-34-050-15-W4",1,508,"Inland-Ft Saskatchewan Transmission",25,8450]
[256,"SW-10-039-27-W4 TO NW-23-039-27-W4","2,1",219,"Southern Extension",30,4830]
[257,"03-27-025-26-W4",1,60,"Strathmore Branch",15,6620]
[258,"10-15-51-12-W4\n",1,60,"Lavoy-Minburn Transmission",25,3450]
[259,"09-03-051-11-W4",1,60,"Lavoy-Minburn Transmission",65,3450]
[261,"16-24-052-17-W4",1,508,"Inland-Ft Saskatchewan Transmission",30,8450]
[262,"2-18-32-1-W5",2,323,"Olds Receipt Transmission",30,4960]
[264,"9-2-50-1-W4",2,114,"Lloydminster Transmission",60,5520]
[265,"9-7-52-6-W5",2,60,"Wabamun to Hinton Transmission",15,7240]
[266,"04-32-51-24-W4",3,219,"Swan Hills Transmission",2,4030]
[267,"16-26-09-12-W4",1,60,"Yellow Lake Branch",15,3360]
[268,"4-19-15-21-W4",1,273,"Champion Transmission",20,6740]
[269,"SE-14-025-28-W4",1,406,"Carbon Transmission",100,5520]
[270,"07-08-020-02-W5",3,114,"Turner Valley 3",20,2130]
[271,"12-04-055-22-W4",1,273,"Bittern Lake to Redwater transmission",30,4140]
[272,"SW-11-054-24-W4",2,406,"North Edmonton Loop",30,3450]
[273,"16-02-054-24-W4",1,323,"North Edmonton Loop",5,3450]
[274,"SW-11-054-24-W4",2,406,"Villeneuve Transmission",30,3450]
[275,"SW-22-43-25-W4",1,168,"South Ponoka Lateral",50,4830]
[276,"SE-2-42-26-W4 to NW26-43-25-W4","2,1",168,"Southern Extension",75,4830]
[277,"NE-29-45-23-W4/SE-10-46-23-W4/SE-19-46-22-W4/SE-27",1,114,"Southern Extension",30,4830]
[278,"SE-26-054-01-W5",1,323,"Paddle River Transmission",30,5520]
[279,"SE-2-42-26-W4 to SW-2-42-26-W4","2,1",114,"Morningside Lateral",30,4830]
[280,"1-3-51-25-W4 to 10-27-50-25-W4",1,219,"Nisku Lateral",60,6140]
[281,"07-36-051-23-W4",1,168,"Bretona Transmission",40,4960]
[282,"10-19-082-25-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4130]
[283,"SE-26-054-01-W5",1,60,"Paddle River Transmission",10,5520]
[284,"8-21-53-25-W4",2,114,"North Edmonton Loop",20,3450]
[285,"10-10-55-22-W4\n",2,323,"Bittern Lake to Redwater transmission",70,4960]
[286,"9-5-57-8-W5 to 1-17-57-8-W5",1,219,"Mayerthorpe Branch",82,5520]
[287,"NE-22-52-23-W4",3,168,"Viking-Edmonton Transmission - Line #4",15,4960]
[289,"NW-22-041-26-W4 TO NE-35-041-26-W4",1,60,"Southern Extension",20,4830]
[290,"8-17-29-22-W4 & SW 16-29-22-W4M",2,406,"Carbon Transmission",20,5520]
[291,"3-5-28-24-W4",1,406,"Carbon Transmission",20,5520]
[292,"LSD 13-16-27-25-W4",1,406,"Carbon Transmission",20,6240]
[293,"LSD 13-16-27-25-W4",1,406,"Carbon Transmission",40,6240]
[294,"08-17-045-07-W4",1,33,"Fabyan Transmission",5,1900]
[295,"9-36-54-24-W4",1,323,"Bittern Lake to Redwater transmission",15,4140]
[296,"13-4-55-22-W4",1,273,"Bittern Lake to Redwater transmission",20,4140]
[297,"4-26-54-25-W4",3,273,"Bittern Lake Transmission",40,6580]
[298,"8-4-55-22-W4 to 5-3-55-22-W4","2,1",273,"Bittern Lake to Redwater transmission",3,4140]
[299,"10-10-55-22-W4",2,273,"Bittern Lake to Redwater transmission",40,4960]
[300,"13-34-014-18-W4",1,42,"TCPL Town Line",30,3450]
[301,"4-25-38-27-W4 to 1-1-38-27-W4",1,219,"Nevis - Airdrie",165,4830]
[302,"12-23-49-1-W5 to 12-14-49-1-W5",1,88,"Thorsby Lateral",140,6140]
[303,"LSD 13-13-25-5-W5",1,323,"Jumping Pound West Transmission",30,5085]
[304,"SW-03-025-04-W5",1,60,"Jumping Pound Transmission",17,4960]
[305,"1-23-024-03-W5",2,323,"Jumping Pound Transmission",20,4960]
[306,"LSD 9-19-23-1-W5",3,88,"Jumping Pound Transmission",40,4960,"Y","2016-12-16","Defects Found","N","N/A","Not Started","Unknown","N"]
[307," NE-21-023-01-W5",3,114,"Jumping Pound Transmission",40,4960,"Y","2016-12-16","No Defects Found","N/A","N/A","N/A","N/A","N/A"]
[308,"LSD 9-22-23-1-W5",3,323,"Jumping Pound Transmission",50,4960,"Y","2016-12-16","Defects Found","N","N/A","Not Started","Unknown","N"]
[309,"14-30-24-2-W5 to 6-31-24-2-W5","3,2",168,"Valley Ridge Branch",60,4960]
[310,"E(1/2) 14-24-2-W5",3,406,"North Line Branch",65,4960]
[311,"13-32-43-01 W5",1,610,"Homeglen Transmission",50,6205,"Y","2016-09-01","Defects Found","Y",4534,"NOT REQUIRED","Repairs Required","Y"]
[312,"10-28-45-28-W4 & 4-2-46-28 W4",1,610,"Homeglen Transmission",30,6200,"Y","2016-03-16","Defects Found","Y",4534,"NOT REQUIRED","Repairs Required","Y"]
[313,"6-17-47-27-W4",1,610,"Homeglen Transmission",40,6205,"Y","2016-03-16","Defects Found","Y",4534,"Not Started","Unknown","N"]
[314,"1-4-49-26-W4",1,610,"Homeglen Transmission",26,6200,"Y","2016-03-16","Defects Found","Y",4534,"Not Started","Unknown","N"]
[315,"6-16-25-3-W5",2,42,"Springbank Lateral",4,5300]
[316,"SW-27-49-1-W5",1,114,"Pembina Transmission",75,6140]
[317,"SE-13-42-26-W4 to SE-12-44-25-W4",1,60,"Southern Extension",60,4830]
[318,"NE-3-45-24-W4 to NE 20-46-22-W4",1,60,"Southern Extension",80,4830]
[319,"SE-8-53-23-W4",2,219,"Edmonton Refinery Delivery Pipeline",70,8450]
[320,"8-27-46-22-W4",1,168,"Bittern Lake to Redwater transmission",80,8140]
[321,"15-24-55-22-W4",2,114,"Bittern Lake to Redwater transmission",20,4960]
[322,"NE-34-049-17-W4",1,406,"Viking-Edmonton Transmission - Line #3 / Line #4",70,4030]
[323,"NE-34-049-17-W4",1,406,"Viking-Edmonton Transmission - Line #3 / Line #4",20,4030]
[324,"LSD 8-10-28-24-W4",1,33,"Carbon Transmission",1,5520]
[325,"SW-28-025-05-W5",1,33,"Banff Transmission",8,4960]
[326,"9-35-48-3-W5",2,33,"Pembina Transmission",5,6550]
[327,"7-17-25-1-W5",3,406,"Jumping Pound West Transmission",40,5090]
[328,"4-24-25-1-W5",2,219,"Jumping Pound West Transmission",40,5090]
[329,"4-23-25-29-W4",1,406,"Jumping Pound West Transmission",25,5090]
[330,"10-8-56-21-W4",1,168,"Bittern Lake to Redwater transmission",35,8450]
[331,"16-6-49-27-W5",2,60,"Jasper Transmission",20,6205]
[332,"11-20-42-25-W4",1,88,"Southern Extension",40,4830]
[333,"3-1-38-26-W4",1,219,"Nevis - Airdrie",100,4960]
[334,"7-15-25-4-W5",1,323,"Jumping Pound Transmission",145,4960]
[335,"SE-17-29-22-W4",2,273,"Carbon Transmission",5,5515]
[336,"15-36-12-27-W4",1,114,"Claresholm - N.E. Transmission",40,4960]
[337,"6-34-50-26-W4",3,114,"Pine Valley Transmission",20,6895,"Y","2016-11-16","No Defects Found","N/A","N/A","N/A","N/A","N/A"]
[338,"SW-16-53-23-W4",2,60,"Cloverbar Lateral",16,4970]
[339,"1-24-53-6-W5",1,273,"Wabamun to Hinton Transmission",100,7240]
[340,"16-5-30-1-W5",3,88,"Airdire - Penhold Transmission",20,4960]
[341,"4-32-51-24-W4",3,26,"Swan Hills Transmission",40,4030]
[342,"1-28-50-9-W4",1,323,"Birch Lake Transmission",100,8450]
[344,"1-3-51-25-W4",1,406,"Pembina Transmission",20,6140]
[345,"8-19-52-23-W4",1,168,"Viking-Edmonton - Loops & Branches",5,2275]
[346,"NE-35-023-02-W5",1,323,"Jumping Pound Transmission",10,4960]
[347,"16-12-54-25-W4",1,114,"St Albert-North Edmonton Lateral",20,3450]
[348,"NE-25-51-23-W4",1,88,"Bretona Transmission",15,4960]
[349,"11-12-54-26-W4M",1,323,"Villeneuve Transmission",2,8480]
[350,"LSD-2-21-53-23-W4M",2,323,"Villeneuve Transmission",5,8450]
[351,"12-19-27-24-W4",1,88,"Carbon Transmission",25,6240]
[352,"03-30-024-28-W4",2,406,"Rockyview Branch",100,5090]
[353,"SE-36-23-29-W4",2,219,"Chestermere Lake Loop",40,5090,"Y","2015-11-01","Defects Found","Y",4635,"2016-02-01","Repairs Required","Y"]
[354,"4-14-52-22-W4",1,42,"Viking-Edmonton - Loops & Branches",2,4960]
[355,"5-11-47-20-W4",1,114,"Southern Extension",30,4830]
[356,"1-20-51-24-W4 to 1-17-51-24-W4",2,323,"Usona Transmission",50,7660]
[357,"SE-5-53-25-W4",2,508,"Northwest Edmonton Connector",50,3450,"Y","2016-06-01","Defects Found","Y",1960,"NOT REQUIRED","Repairs Required","Y"]
[358,"SW-5-53-25-W4",2,219,"Acheson Transmission",30,3450]
[359,"14-27-53-25-W4",1,508,"Northwest Edmonton Connector",30,3450,"Y","2016-06-01","Defects Found","Y",1960,"NOT REQUIRED","Repairs Required","Y"]
[360,"8-1-54-25-W4",3,508,"Northwest Edmonton Connector",20,3450,"Y","2016-06-01","Defects Found","Y",1960,"NOT REQUIRED","Repairs Required","Y"]
[361,"E (1/2) 29-22-29-W4",3,219,"McKenzie Gate Lateral",40,6140]
[362,"16-24-51-25-W4 & 16-14-51-25-W4","3,1",60,"Bonnie Glen Transmission",10,6890]
[364,"5-10-47-20-W4",2,60,"Southern Extension",35,4820]
[365,"NE-36-71-5-W6",1,88,"Hermit Lake",16,6550]
[366,"2-6-67-10-W5",1,88,"House Mountain Pipeline",15,9930]
[367,"SE-03-51-25-W4",1,406,"Pembina Transmission",30,6140]
[368,"2-6-67-10-W5",1,88,"House Mountain Pipeline",36,9930]
[369,"8-30-52-21-W4",1,60,"Legal-Uncas Transmission",6,4960]
[371,"7-32-39-22-W4",1,88,"Alix, Mirror, Bashaw Transmission",90,4960]
[372,"13-19-54-25-W4",2,88,"Paddle River Transmission",5,5520]
[373,"NW-11-57-24-W4",1,114,"Legal-Uncas Transmission",30,3450]
[374,"NW-11-062-08-W5 AND NW-22-061-07-W5",1,26,"Swan Hills Transmission",2,6550]
[375,"4-26-46-24-W4",2,60,"Southern Extension",10,4830]
[377,"14-5-55-22-W4",1,88,"Fort Sask.-North Edmonton Lateral",30,3447]
[378,"SE-19-049-24-W4",2,323,"Usona Transmission",10,7660]
[379,"16-35-24-29-W4",3,406,"Temple Gate Lateral",30,5090]
[380,"4-1-11-26-W4",1,114,"Granum Lateral",30,2070]
[381,"NW-26-83-22-W5",2,114,"WORSLEY-MCLENNAN TRANSMISSION",15,4140]
[382,"LSD 14-14-23-27-W4 - LSD 4-4-23-28-W4\n","3,1",168,"Indus Lateral",120,6240]
[383,"3-35-5-17-W4",1,33,"Taber-Coutts Branch (114.3)",10,6890]
[384,"SW-36-71-11-W6",1,114,"Hythe-Beaverlodge Transmission",10,4140]
[385,"4-33-54-22-W4",2,114,"Legal-Uncas Transmission",20,4450]
[386,"NE-9-41-26-W4 to NE-10-41-27-W4",1,42,"Southern Extension",2,4380]
[387,"9-1-47-21-W4",1,60,"Southern Extension",25,4830]
[388,"NW-20-48-18-W4",1,42,"Southern Extension",10,4830]
[389,"13-6-57-8-W5",2,273,"Paddle River Transmission",40,5520]
[390,"LSD 7-36-56-7-W5",1,273,"Paddle River Transmission",15,5520]
[391,"5-31-56-6-W5",1,273,"Paddle River Transmission",50,5520]
[392,"LSD 8-36-56-7-W5",1,273,"Paddle River Transmission",10,5520]
[393,"1-1-38-27-W4",1,219,"Nevis - Airdrie",100,4830]
[394,"SE-21-53-23-W4",2,610,"SEEP",40,8450]
[395,"LSD 2-3-55-22-W4",2,219,"Bittern Lake to Redwater transmission",150,4960]
[396,"LSD 4-3-55-22-W4",2,219,"Riverside Transmission",120,4140]
[397,"LSD 16-6-20-25-W4",1,219,"Arrowwood Transmission",30,6620]
[398,"LSD 8-2-20-28-W4 & 5-3-20-27-W4",1,219,"Arrowwood Transmission",10,6620]
[399,"LSD 3-6-20-28-W4",1,219,"Arrowwood Transmission",5,6620]
[400,"LSD 3-2-20-29-W4",1,219,"Arrowwood Transmission",15,6620]
[401,"13-15-50-10-W4",1,273,"Birch Lake Transmission",25,8450]
[402,"5-10-55-22-W4",2,323,"Legal-Uncas Transmission",50,3447]
[403,"1-4-52-20-W4",1,406,"Viking-Edmonton Transmission - Line #3 / Line #4",50,4030]
[405,"LSD 14-12-23-5-W5 to LSD 4-13-23-5-W5",2,88,"Bragg Creek South Town Line",30,5825]
[406,"NE-36-54-3-W5",1,42,"Wabamun - Onoway Transmission",20,4830]
[407,"LSD 12-3-10-23-W4",1,406,"Mainline East (West)",150,4960]
[408,"LSD 7-17-47-27-W4",1,168,"Bonnie Glen Transmission",90,5520]
[409,"5-2-9-19-W4 & 12-35-9-20-W4",1,88,"Coaldale East #2 Branch",2,2380]
[410,"SE & SW-24-7-17-W4",1,60,"Wrentham #2 Lateral (60.3)",2,1900]
[411,"1-28-25-2-W5",2,88,"Lafarge Asphalt Plant Branch",2,5090]
[412,"LSD 7-17-47-27-W4 to LSD 2-17-47-27-W4",1,114,"Bonnie Glen Transmission",85,5520]
[414,"LSD 5-30-9-25-W4",1,88,"Fort Macleod Branch",10,2070]
[416,"10-15-29-23-W4M",2,60,"Carbon Town Branch",15,5515]
[417,"SE-33-37-27-W4",2,168,"Nevis - Airdrie",5,4960]
[418,"5-15-49-2-W5",1,88,"Pembina Transmission",65,6140]
[419,"LSD 1-2-20-28-W4",1,219,"Arrowwood Transmission",100,6620]
[420,"LSD 3-33-48-8-W5",1,88,"Pembina Transmission",5,6580]
[421,"12-3-56-21-W4",1,114,"Esso Chemical Lateral",15,8450]
[422,"LSD 16-35-34-25-W4",1,88,"Trochu Transmission",100,6620]
[423,"LSD 8-23-34-1-W5",3,114,"Nevis - Airdrie",40,4960]
[424,"LSD 15-12-28-26-W4",2,60,"Acme Lateral",15,5515]
[425,"1-4-55-20-W4",1,406,"Inland Transmission",40,8450]
[426,"LSD 1-6-54-21-W4",1,406,"Inland-Ft Saskatchewan Transmission",30,8450]
[427,"LSD 14-14-23-27-W4",3,60,"Indus Lateral",5,6240]
[428,"LSD 14-8-47-27-W4",1,60,"Mulhurst Lateral",10,6210]
[429,"LSD 4-24-24-3-W5",2,323,"Jumping Pound",4,4960]
[431,"NE-1-63-3-W4 to SE-6-63-2-W4",1,88,"Cold Lake Medley Transmission",50,3100]
[432,"LSD 4-6-53-18-W4",1,60,"Mundare-Bruderheim Transmission",5,3450]
[433,"SE-3-26-4-W5",2,168,"Cochrane Branch",30,4960]
[434,"NE-05-055-22-W4",1,168,"Bittern Lake to Redwater transmission",1,4140]
[435,"NW-36-055-23-W4",1,42,"Legal-Uncas Transmission",7,3447]
[436,"NW-35-025-29-W4 &\nSW-02-026-29-W4",2,219,"Petrogas - Airdrie Transmission",30,5520,"Y","2016-02-01","No Defects Found","N/A","N/A","N/A","N/A","N/A"]
[437,"SW-2-26-29-W4 to NW-35-25-29-W4",3,610,"East Calgary B Extension",120,6240,"Y","2016-02-01","Defects Found","Y",4000,"2016-10-01","Repairs Required","Y"]
[438,"12-1-56-5-W5",1,323,"Paddle River Transmission",40,5520]
[439,"LSD 8-24-50-26-W4",1,33,"Pembina Loop",2,6140]
[440,"SE-21-21-29-W4 to SW-20-21-28-W4","2,1",88,"Dewinton East Branch #2",20,2070]
[441,"LSD 9-24-81-21-W5",2,60,"Nampa Branch Line ",10,4140]
[443,"LSD 16-4-48-10-W4",1,168,"Scovil Lake Transmission",1,4960]
[444,"SW-8-53-25-W4",2,273,"Northwest Edmonton Connector (Gate #4 Lateral)",30,3450,"Y","2016-06-01","Defects Found","Y",1960,"NOT REQUIRED","Repairs Required","Y"]
[445,"SE-27-23-1-W5",3,273,"Mainline Loop #1",30,3020,"Y","2016-12-16","No Defects Found","N/A","N/A","N/A","N/A","N/A"]
[446,"LSD 4-5-44-1-W5",1,610,"Homeglen Transmission",3,6200,"Y","2016-03-16","Defects Found","Y",4534,"Not Started","Unknown","N"]
[447,"E1/2-33-54-22-W4",1,114,"Legal-Uncas Transmission",15,4450]
[448,"4-19-53-23-W4 to 8-7-53-23-W4",3,323,"Hermitage Transmission",6,3450]
[449,"LSD 16-36-51-4-W5",2,219,"Genesee-Keephills Transmission",30,4960]
[450,"SE-33-52-26-W4",2,114,"Stony Plain Transmission",30,3450]
[451,"LSD 6-15-8-21-W4",1,33,"Cardston Transmission",1,2070]
[452,"8-1-54-25-W4 to 16-27-53-25-W4","3,1",323,"North Edmonton Loop",1,3450]
[453,"LSD 1-14-51-20-W4",1,60,"Viking-Edmonton Lateral",1,4100]
[454,"LSD 11-10-51-25-W5",3,88,"Jasper Transmission",20,6900]
[455,"SE-30-051-24-W4 ",3,114,"Pembina Transmission",12,6140]
[456,"LSD 2-5-47-27-W4",1,26,"Homeglen Transmission",1,6200,"N",null,null,null,4534,"Not Started","Unknown","N"]
[457,"LSD 4-14-51-26-W4",1,168,"Pine Valley Transmission",15,6895]
[458,"NE-2-50-1-W4",2,88,"Lloydminster Transmission",30,5520]
[460,"3-8-53-25-W4",2,273,"Northwest Edmonton Connector (Gate #4 Station)",60,3450,"Y","2016-06-01","Defects Found","Y",1960,"NOT REQUIRED","Repairs Required","Y"]
[461,"NE-36-11-20-W4",1,60,"Turin East Transmission",30,6720]
[462,"SW-33-24-10-W5",3,168,"Banff Transmission",30,4960]
[463,"SE-5-25-10-W5",3,168,"Banff Transmission",10,4960]
[464,"SE-26-52-24-W4",2,219,"Edmonton Gate Station #1",40,6520]
[466,"NW-25-19-29-W4",1,60,"High River N.E. Branch (60.3)",40,2070]
[467,"SE-12-44-25-W4M TO SE-03-45-24-W4M",1,219,"Southern Extension",50,4830]
[468,"12-20-55-3-W5",1,323,"Paddle River Transmission",20,5520]
[469,"LSD 5-36-54-2-W5",2,219,"Paddle River Transmission (CU Lease)",30,5520]
[470,"3-8-54-26-W4 & 8-5-54-26-W4",1,273,"Paddle River Transmission",30,5520]
[471,"LSD 4-17-56-21-W4",1,219,"Redwater Transmission",7,4960]
[472,"LSD-7-13-23-5-W5M",1,88,"Bragg Creek South Town Line",30,5830]
[473,"SE-14-52-8-W4",1,168,"Myrnam Transmission",40,8450]
[474,"SW-5-53-25-W4",2,26,"Acheson Transmission",1,3450]
[475,"NE-32-55-21-W4",2,168,"Shell Scotford Transmission",20,8450]
[476,"LSD 4-34-53-18-W4",1,114,"Mundare-Bruderheim Transmission",100,3450]
[477,"LSD 12-21-52-23-W5",1,60,"Wabamun-Hinton Transmission",80,7240]
[478,"12-29-24-28-W4 to 12-33-24-28-W4","2,1",406,"Carbon Transmission",8,6240]
[479,"14-33-24-28-W4 to 3-4-25-28-W4",2,508,"Carbon Transmission",10,5520]
[480,"LSD 4-4-22-29-W4",2,114,"Dewinton East Branch #1",15,2070]
[481,"SE-28-50-9-W4",1,323,"Birch Lake Transmission",40,8450]
[482,"LSD 2-25-24-2-W5",3,273,"North Branch Line",30,4960]
[483,"SE-17-053-26-W4",2,323,"Swan Hills Transmission",20,6380]
[484,"NW-36-052-23-W5",1,273,"Wabamun to Hinton Transmission",1,7240]
[485,"11-22-53-8-W5",1,273,"Wabamun to Hinton Transmission",80,7240]
[486,"Sec 23-3-25-W4",1,114,"Cardston Transmission",30,3070]
[488,"LSD 3-27-44-1-W5",1,610,"Homeglen Transmission",5,6200,"Y","2016-01-01","Defects Found","Y",4635,"NOT REQUIRED","Repairs Required","Y"]
[489,"SW-10-051-25-W4",1,610,"Homeglen Transmission",2,6890,"Y","2016-01-01","Defects Found","Y",4635,"Not Started","Repairs Required","N"]
[490,"LSD 9-11-35-1-W5",1,60,"Innisfail West Branch",1,4960]
[491,"2/3-4-25-8-W5",1,219,"Banff Transmission",30,4960]
[492,"SE-16-83-23-W5",1,60,"WORSLEY-MCLENNAN TRANSMISSION",2,4138]
[493,"15-29-50-24-W4 to 2-4-51-24-W4","2,1",323,"Usona Transmission",50,7660]
[494,"04-16-51-24-W4 TO 02-18-51-24-W4","2,1",168,"Ellerslie Lateral",2,6140]
[495,"LSD 5-2-48-8-W5",1,60,"Pembina Transmission",20,6580]
[496,"LSD 02-14-25-28-W4",1,406,"Carbon Transmission",40,5520]
[497,"LSD 8-15-50-10-W4",1,60,"Lavoy-Minburn Transmission",1,3450]
[498,"8-27-27-25-W4",1,406,"Carbon Transmission",40,5520]
[499,"13-15-52-21-W4",2,406,"Viking-Edmonton Transmission - Line #4",5,4030]
[500,"LSD 9-28-48-26-W4",1,60,"Millet Transmission",50,6200]
[501,"LSD 10-19-82-25-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",100,4138]
[502,"LSD-3-14-55-22-W4M",2,114,"Bittern Lake to Redwater transmission",30,4960]
[503,"LSD 9-14-55-22-W4",2,60,"Bittern Lake Transmission",50,4960]
[504,"SE-25-23-29-W4",2,508,"Shepard Delivery Station",100,6240,"Y","2016-11-01","Defects Found","Y",4635,"2016-02-01","Repairs Required","Y"]
[505,"LSD 12-19-27-24-W4",1,323,"Carbon Transmission",25,6240]
[506,"SW-30-24-28-W4",1,60,"Rockyview Branch",10,5090]
[507,"LSD 9-4-25-28-W4",2,88,"Carbon Transmission",20,5520]
[508,"11-13-26-27-W4M",2,406,"Carbon Transmission",30,5520]
[509,"11-13-26-27-W4M",2,508,"Carbon Transmission",30,5520]
[510,"LSD 16-34-49-8-W4",1,60,"Vermilion Transmission",30,5170]
[511,"LSD 12-7-82-21-W5",1,114,"WORSLEY-MCLENNAN TRANSMISSION",30,4138]
[512,"LSD 12-19-27-24-W4",1,508,"Carbon Loop (508.0)",25,6240,"Y","2016-01-01","Defects Found","Y",4635,"2016-02-01","Repairs Required","Y"]
[513,"LSD 3-2-27-26-W4",1,406,"Carbon Transmission",40,5515]
[514,"LSD 5-2-48-8-W5",1,33,"Pembina Transmission",30,6580]
[515,"LSD 1-3-26-29-W4",1,508,"East Calgary B Extension",100,6240,"Y","2016-02-01","Defects Found","Y",4000,"2016-10-01","Repairs Required","Y"]
[516,"LSD 8/9/16/17-53-23-W4",2,114,"East Edmonton Interconnection",30,4960]
[517,"SE-13-27-1-W5",3,219,"Petrogas - Airdrie Transmission",10,4960]
[518,"LSD 15-29-53-25-W4",3,26,"Paddle River Loop",10,8480]
[519,"LSD 2-3-55-22-W4",2,219,"Bittern Lake to Redwater transmission",150,4960]
[521,"LSD 8-31-38-28-W4",1,88,"Sylvan Lake Transmission",100,4688]
[522,"SE 29-52-23-W4 to NE-20-52-23-W4",2,60,"Viking-Edmonton - Loops & Branches",30,2280]
[523,"LSD 5-13-52-8-W4",1,168,"Myrnam Transmission",40,8270]
[524,"NW-35-25-29-W4",2,323,"Petrogas - Carbon Transmission",100,5520]
[525,"LSD 1-36-23-29-W4",2,219,"Chestermere Lake Loop",80,5090,"Y","2015-11-01","Defects Found","Y",4635,"2016-02-01","Repairs Required","Y"]
[526,"LSD 5-26-27-25-W4",1,508,"Carbon Loop (508.0)",80,6240,"Y","2016-01-01","Defects Found","Y",4635,"2016-02-01","Repairs Required","Y"]
[527,"1-6-38-25-W4M",1,219,"Nevis - Airdrie",40,4960]
[528,"LSD 11-12-54-26-W4",1,406,"Villeneuve Transmission",100,8480]
[529,"LSD 8-17-50-7-W5",2,60,"Pembina Lobstick Transmission",30,8274]
[530,"LSD 13-2-21-4-W5",1,48,"Millarville Transmission Line",30,3100]
[531,"SW-26-27-25-W4",1,508,"Carbon Loop (508.0)",30,6240,"Y","2016-01-01","Defects Found","Y",4635,"2016-02-01","Repairs Required","Y"]
[533,"NE-31-53-23-W4",1,60,"Kuhlmann Lateral",20,3450]
[534,"NW-22-020-29-W4",2,323,"Mainline South (North)",30,4960]
[535,"SW-36-048-13-W4",1,168,"Birch Lake Transmission",10,4960]
[536,"NW/SW-6-54-16-W4",1,60,"Norma Transmission",7,8450]
[537,"LSD 12-3-10-23-W4",1,273,"Mainline East (West)",10,4960]
[538,"SE-31-45-8-W4",1,219,"Wainwright Transmission",1,5170]
[539,"LSD 1-29-52-23-W4",2,60,"Viking-Edmonton Transmission - Line #3",15,2280]
[540,"5-18-25-2-W5",2,60,"Jumping Pound West Transmission",10,5085]
[541,"SE-04-053-25-W4 TO NE-16-053-25-W4",2,273,"North Edmonton Loop",1,4970]
[542,"LSD 9-12-46-20-W4",1,60,"Ohaton Transmission",100,8450]
[543,"9-22-23-1-W5M",3,406,"Mainline",15,4960,"Y","2016-12-16","No Defects Found","N/A","N/A","N/A","N/A","N/A"]
[544,"1-2-24-2-W5",3,323,"North Branch Line",100,4960]
[545,"LSD 2-26-7-18-W4",1,60,"Wrentham #2 Lateral (60.3)",1,1900]
[546,"LSD 12-35-9-20-W4",1,114,"Coaldale Branch",30,2360]
[547,"LSD 10-7-15-27-W4",1,88,"Texaco Lateral",1,2280]
[548,"LSD 4-2-49-13-W4 & NE-16-52-21-W4",1,406,"Viking-Edmonton Transmission - Line #3",60,4030]
[549,"LSD 2-4-53-26-W4",3,114,"Stony Plain Transmission",20,3450]
[550,"LSD 4-10-53-26-W4",2,114,"Swan Hills Transmission",30,6380]
[551,"LSD 4-16-46-23-W4",1,42,"Southern Extension",30,4830]
[552,"LSD 8-27-49-17-W4",1,168,"Southern Extension",1,4830]
[553,"LSD 9-4-50-1-W4",1,168,"Lloydminster Transmission",15,5520]
[554,"LSD 1-5-56-15-W4",1,168,"AndrewTown Line",3,4140]
[555,"LSD 9-31-38-3-W4",1,42,"Cadogan",30,4140]
[556,"LSD 15-23-053-17-W5",2,60,"Wabamun to Hinton Transmission",15,7240]
[557,"LSD 13-14-53-25-W4",3,60,"North Edmonton Loop",140,3450]
[558,"16-36-48-13-W4M",1,406,"Viking-Edmonton Transmission - Line #3",30,4030]
[559,"16-36-48-13-W4M",1,406,"Viking-Edmonton Transmission - Line #4",50,4030]
[560,"SE-06-049-14-W4",1,406,"Viking-Edmonton Transmission - Line #3",25,4030]
[561,"SE-04-049-14-W4",1,406,"Viking-Edmonton Transmission - Line #4",40,4030]
[562,"5-8-49-15-W4M",1,406,"Viking-Edmonton Transmission - Line #3 / Line #4",90,4030]
[563,"16-15-49-16-W4M",1,406,"Viking-Edmonton Transmission - Line #3 / Line #4",95,4030]
[564,"LSD 9-36-50-19-W4M",1,406,"Viking-Edmonton Transmission - Line #3",40,4030]
[565,"LSD 9-36-50-19-W4M",1,406,"Viking-Edmonton Transmission - Line #4",40,4030]
[566,"16-19-52-21-W4",1,406,"Viking-Edmonton Transmission - Line #3 / Line #4",105,4030]
[567,"LSD 7-15-51-21-W4",1,60,"Golden Tie-in Loop",4,4270]
[569,"SW-13-53-18-W5",1,273,"Wabamun to Hinton Transmission",30,7240]
[570,"LSD 11-12-54-26-W4",1,406,"Villeneuve Transmission",100,8480]
[571,"LSD 10-30-72-4-W5",2,114,"Mitsue Plywood",200,1730]
[572,"LSD 1-14-40-27-W4",2,33,"Southern Extension",10,4830]
[573,"05-21-24-09-W5",2,60,"Banff Loop (323.9)",10,4960]
[574,"16-28-009-21-W4",1,273,"Lethbridge East #1 Branch (273.1)",40,2070]
[575,"SE-21-53-23-W4",2,762,"Cloverbar Lateral",40,8450,"Y","2016-07-01","Defects Found","N","N/A","NOT REQUIRED","Repairs Required","N"]
[576,"12-32-53-22 W4",2,610,"Cloverbar Lateral",15,8450,"Y","2016-07-01","Defects Found","N","N/A","NOT REQUIRED","Repairs Required","N"]
[577,"04-34-54-21 W4",2,610,"Cloverbar Lateral",25,8450,"Y","2016-07-01","Defects Found","N","N/A","NOT REQUIRED","Repairs Required","N"]
[578,"01-04-55-20 W4",2,610,"Cloverbar Lateral",15,8450,"Y","2016-07-01","Defects Found","N","N/A","NOT REQUIRED","Repairs Required","N"]
[579,"5-10-55-22-W4",2,114,"Legal-Uncas Transmission",20,3447]
[580,"LSD 3-16-45-7-W4",1,114,"Fabyan Transmission",10,2070]
[581,"SE-20-053-23-W4",1,273,"Bittern Lake to Redwater transmission",5,4960]
[582,"LSD 4-8-57-8-W6",1,114,"Grande Cache",15,6550]
[583,"09-22-23-1-W5 & NE-21-23-29-W4","3,2",323,"Jumping Pound Transmission",15,4960,"Y","2016-12-16","Defects Found","N","N/A","Not Started","Unknown","N"]
[584,"3-5-28-24-W4",1,60,"Carbon Transmission",10,5520]
[585,"SE-21-53-23-W4",2,219,"Cloverbar Compressor",40,8450]
[586,"SW-05-038-25-W4",1,33,"Nevis - Airdrie",10,4960]
[587,"NE-27-050-26-W4",2,219,"Devon Transmission",20,6890]
[588,"1-22-35-11-W4",1,88,"Coronation Town Line",40,6210]
[589,"LSD 1-23-51-25-W5",2,114,"Jasper Transmission",80,6900]
[590,"NE-25-44-7-W4",2,114,"Fabyan Transmission",85,1900]
[591,"SW-02-024-29-W4",3,406,"Carbon Transmission",10,4700]
[592,"NW-2-24-29-W4",3,406,"Carbon Transmission & Petrogas-Meadowfield",15,4700]
[593,"NW-02-024-29-W4",3,406,"Carbon Transmission",30,4700]
[594,"SW-2-24-29-W4",3,406,"Carbon Transmission",15,4700]
[595,"LSD 4-10-53-26-W4",2,114,"Swan Hills Transmission",35,6380]
[596,"1-35-22-1-W5",1,88,"Mainline South (North)",30,2070]
[597,"LSD 15-8-14-18-W4",1,88,"Vauxhall Transmission Line",2,6620]
[598,"LSD 7-3-21-4-W5",1,48,"Millarville Transmission Line",30,3100]
[599,"LSD 4-27-51-25-W4",2,114,"Golden Spike Transmission",40,6070]
[600,"LSD-2-17-14-18-W4M",2,60,"Enchant Branch",12,6620]
[601,"NE-22-46-22-W4 to SE-27-49-17-W4",1,168,"Bittern Lake to Redwater transmission",100,8140]
[602,"16-19-38-1-W5M",1,88,"IS2228",30,3400]
[603,"LSD 1-1-20-29-W4",1,26,"Arrowwood Transmission",2,6620]
[604,"LSD 11-14-49-16-W4",3,60,"Redwater Transmission",100,4030]
[605,"LSD 15-30-72-4-W5",2,60,"Mitsue Plywood",12,1730]
[606,"SW-22-43-25-W4",1,219,"Wood River Lateral",5,4830]
[608,"LSD 7-15-88-9-W4",1,88,"Fort McMurray Transmission",100,6210]
[609,"LSD-13-10-58-8-W6M",2,89,"Grande Cache Transmission",21,6550]
[610,"LSD 1-12-56-22-W4M",2,168,"Redwater Transmission",20,4960]
[611,"SE-16-053-21-W4",1,33,"Brentoa Receipt Lateral",3,4210]
[612,"LSD 2-27-38-27-W4",3,60,"Southern Extension",5,4960]
[613,"3-1-49-13-W4M to 16-20-49-16-W4M",1,26,"Viking-Edmonton Transmission - Line #3 / Line #4",150,8460]
[616,"LSD 5-19-50-5-W4",1,323,"Ranfurly Transmission",45,8270]
[617,"LSD-16-33-44-24-W4M",1,60,"Louis Bull Branch",5,4830]
[619,"LSD-6-31-55-21-W4M",2,273,"Air Products Delivery Lateral",65,4960]
[620,"7-18-56-21-W4M",2,60,"Redwater Transmission",90,4960]
[621,"LSD-16-36-48-13-W4M",1,323,"Birch Lake Transmission",100,8450]
[622,"NW-23-22-1-W5",3,323,"Priddis Transmission Line (406.3)",55,4960,"Y","2016-11-16","Defects Found","N","N/A","Not Started","Unknown","N"]
[623,"NW 1/4-23-22-1-W5M",3,323,"Priddis Transmission Line",25,4960,"Y","2016-11-16","Defects Found","N","N/A","Not Started","Unknown","N"]
[624,"NW 1/4-35-38-3-W4M",1,60,"Provost-Cadogan Transmission",30,4140]
[625,"NW-28-37-27-W4",2,168,"Nevis - Airdrie",10,4960]
[626,"13-15-57-03-W5",1,60,"Swan Hills Transmission",10,6550]
[627,"NW 1/4-23-22-2-W5M",1,406,"Priddis Transmission Line (406.3)",30,6140]
[628,"15-19-52-25-W4",3,114,"Swan Hills Transmission",50,6205]
[629,"7-18-56-21-W4M",2,60,"Redwater Transmission",10,4960]
[630,"NE-26-51-25-W4M TO NE-20-51-25-W4M","3,2",323,"Golden Spike",5,6200]
[631,"LSD 1-20-52-23-W4",2,60,"Viking-Edmonton - Loops & Branches",10,2275]
[632,"1-28-53-9-W5M",1,219,"Wildwood Lateral",40,9930]
[633,"SE 1/4-12-56-22-W4M",2,114,"Redwater Transmission",15,4960]
[634,"LSD 15-14-24-9-W5",1,60,"Banff Loop (323.9)",15,4960]
[635,"SE-35-51-23-W4M",1,88,"Bretona Transmission",1,6895]
[636,"LSD-11-8-52-24-W4M",3,168,"Rossdale Transmission",25,2070]
[637,"NE-10-045-07-W4",1,114,"Fabyan Transmission",30,1900]
[638,"LSD-12-10-45-7-W4M",1,33,"Fabyan Transmission",20,2070]
[639,"11-25-53-24-W4M",3,273,"Bittern Lake Transmission",25,4140]
[640,"2-33-65-10-W5M",1,60,"Swan Hills Transmission",30,6550]
[641,"10-03-56-22-W4",1,60,"Redwater Transmission",2,4960]
[642,"LSD 14-16-53-23-W4M",1,323,"Edmonton Refinery Delivery Pipeline",100,8450]
[643,"LSD-1-6-54-21-W4M",1,323,"Inland-Ft Saskatchewan Transmission",80,8450]
[644,"12-34-85-5-W6M",1,114,"Worsley-McLennan Transmission",5,6895]
[645,"LSD 10-33-51-23-W4",1,26,"Bretona Transmission",40,4960]
[646,"NE-22-42-2-W5M",2,60,"Rimbey Nova South Transmission",30,6200]
[647,"LSD 16-10-51-21-W4M",1,26,"Viking-Edmonton - Loops & Branches",10,2410]
[648,"LSD-1-18-53-21-W4M",1,60,"Ardrossan Transmission (Bremner Control)",100,3100]
[650,"3-14-55-22-W4M",2,114,"Bittern Lake to Redwater transmission",20,4960]
[651,"08-04-050-17-W4",3,406,"Viking-Edmonton Transmission - Line #3",30,4030]
[652,"LSD-11-25-52-26-W4M",2,88,"Swan Hills Transmission",5,6200]
[653,"SW-31-52-23-W4",2,88,"CIL Transmission",50,3450]
[654,"LSD 8-33-9-22-W4",1,219,"Lethbridge Power Plant Lateral",100,2070]
[655,"9-11-34-1-W5M",1,168,"Nevis - Airdrie",60,4960]
[656,"LSD-16-29-48-9-W5M",1,88,"Pembina Transmission",100,6580]
[657,"LSD 16-27-48-9-W5",1,114,"IS5053",11,6580]
[658,"LSD-2-4-10-15-W4M",1,88,"Fincastle South Transmission",20,4965]
[659,"NW-8-14-23-W4M",1,88,"Vulcan Transmission",10,6620]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}